## Sheet1
|  | Inventory 220KV S/s Piran kaliyar | 2022-01-01 |  | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap |  | Remark
S.N | Item code | Name of Item | Unit | Rate. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs.
1 | CC0C001009 | PVC Control cable-2.5mm X 10 Core (in pieces) | Km. | 333489.24 | 0.207 | 69032.2727 | [8 empty] | Survey of Scrap material done by MM roorkee on dated 31.03.2021
2 | CC0C001013 | Control Cable (PVC) Cu.2.5mm X 06 Core In pieces) | Km. | 206500 | 0.23 | 47495
3 | II0I001003 | Disc Insultor 120 KN | Nos. | 900 | 25 | 22500
4 | C201 | HF Cable | Km. | 185000 | 1.305 | 241425
5 | VV2V204007 | Empty T/F oil drum | Nos. | 250 |  | 0 | [6 empty] | 284 | 71000
6 |  | 7/9 SWG G.I.Earth wire | Kg. | 25 | 715 | 17875
7 |  | ACSR Zebra Conductor | Km. | 231480 | 0.089 | 20601.72
8 | VV2V202003 | Silica gel breather for conservator & OLTC tank | set. | 11800 | 1 | 11800
9 |  | old & used dismenteled enery meter | Nos. | 500 | 18 | 9000
10 |  | Main & Auxiliary Structure Bolt & Nuts and anchor bolts (Foundation bolts) (i) CTDP Col-1No @1540.23 Kg (ii) 33KV BPI-1 No @ 140.76 Kg | MT | 104135.55 | 1.6809 | 175041.446
11 |  | MS Round 40 mm Diameter | MT | 79712.94 | 0.3594 | 28648.8306
12 | K302 | 33KV Equpt-Bus Post insulator | No | 0 | 2 | 0 | [8 empty] | Survey of Scrap material done by MM roorkee on dated 31.03.2021
13 |  | Control room lighting points roof type double tube suspension fitting | No | 5809.68 | 3 | 17429.04
14 |  | Earth wire (Old & Used and scrap | Kg | 10 |  | 0 | [6 empty] | 3875 | 38750
15 | P224 | Telephone Set | No | 7085.59 | 1 | 7085.59
16 | CC0C001009 | Control cable 2.5mm X 10 core | Km | 365428.4 | 0.025 | 9135.71
17 | CC0C001018 | Control cable 2.5mm X 04 core (In pieces) | Km | 148648.84 | 0.108 | 16054.0747
18 | CC0C001022 | Control cable 2.5mm X 02 core | Km | 117680.33 | 0.258 | 30361.5251
19 | CC1C103002 | Control cable 400mm X 3.5 core | Km | 1480294.75 | 0.254 | 375994.8665
20 |  | Control cable 70mm X 3.5 core | Km | 442849.68 | 0.815 | 360922.4892
21 | C201 | HF CABLE | Km |  | 0.582 | 0
22 | II5I504004 | Suspension Fitting for ACSR single Zebra | Nos | 8466.78 | 9 | 76201.02
23 | II0I001007 | Disc Indulator 70 KN | Nos | 340 | 74 | 25160
Mandatory Spare 245 KV isolator
24 | SS0S002001 | One complete pole of isolator ( including support insulator) with 1 E/S with operating mechanism for main isolator and earth switch ( Excluding structure) | No | 430969.62 | 1 | 430969.62
25 |  | Copper contacts | Set | 10000 | 2 | 20000
26 |  | Relay, Power contractor, MCB, Switch, Fuses, Push buttons and resistors for electrical control circuit as per approved schematic. | Set | 17000 | 1 | 17000
27 |  | Terminal connector | No | 1650 | 3 | 4950
28 |  | Terminal Pads | No | 2000 | 3 | 6000
29 |  | Limit switch and auxiliary contacts (Complete for one MOM box of isolator) | Set | 2500 | 2 | 5000
30 | SS2S201005 | Rotor housing bearing assembly | No | 10000 | 1 | 10000
31 |  | Bearings | Set | 5000 | 1 | 5000
32 |  | interlocking coils | No | 1500 | 5 | 7500
33 |  | Support insulator | No | 25000 | 1 | 25000
Mandatory Spare 33 KV isolator
34 | SS0S005001 | One complete pole of isolator ( including support insulator) with 1 E/S with operating mechanism for main isolator and earth switch ( Excluding structure) | No | 152139.87 | 1 | 152139.87
35 |  | Copper contacts | No | 10000 | 2 | 20000
36 |  | Bearings | No | 5000 | 1 | 5000
Mandatory spare-Control & relay panel (33 KV C&R Panel)
37 | MM3M303007 | Digital Ammeter CTR 400-200/1A | Nos | 3160 | 2 | 6320
38 |  | Digital MW Meter, CTR-400-200/1A, PTR-33KV/110VAC with Transducer | Nos | 6320 | 1 | 6320
39 |  | Digital MVAR Meter, CTR-400-200/1A, PTR-33KV/110VAC with Transducer | Nos | 6320 | 1 | 6320
40 |  | Digital Voltmeter, PTR 33KV/110VAC | Nos | 3160 | 1 | 3160
41 |  | Voltmeter selector switch, 06 Position with off | Nos | 525 | 1 | 525
42 |  | Breaker control switch, 32A, Pistol grip handle, 3position | Nos | 1523 | 2 | 3046
43 |  | Isolator control switch (Open, Neutral, Close) 3 position | Nos | 1523 | 2 | 3046
44 |  | Semaphore indicator, 220VDC, Bazel | Nos | 1302 | 2 | 2604
45 |  | Indicating lamp for CB open, 220VDC, Green | Nos | 21 | 3 | 63
46 |  | Indicating lamp for CB Close, 220VDC, Red | Nos | 21 | 3 | 63
47 |  | Indicating lamp for Spring charged, 220VDC, Blue | Nos | 21 | 3 | 63
48 |  | Indicating lamp for CB Auto trip, 220VDC, Amber | Nos | 21 | 3 | 63
49 |  | Indicating lamp for DC supply fail, 220VDC, Amber | Nos | 21 | 3 | 63
50 |  | Indicating lamp, 63.5VAC, Red | Nos | 21 | 3 | 63
51 |  | Indicating lamp, 63.5VAC, Yellow | Nos | 21 | 3 | 63
52 |  | Indicating lamp, 63.5VAC, Blue | Nos | 21 | 3 | 63
53 |  | Alarm annunciator,8winows | Nos | 14682 | 1 | 14682
54 |  | Push button actuator green with 2NO element | Nos | 63.33 | 1 | 63.33
55 |  | Push button actuator Blue with 2NO element | Nos | 63.33 | 1 | 63.33
56 |  | Push button actuator Yellow with 2NO element | Nos | 63.33 | 1 | 63.33
57 | NN4N412005 | Trip transfer switch, 03 position (normal, Inter, Transfer) 32A | Nos | 1689 | 1 | 1689
58 |  | 12 Pin Synchronizing socket | Nos | 632 | 1 | 632
59 |  | Synchronizing selector switch, 03 positions (Check-off-Manual), STAYPUT TYPE, LOCKABLE TYPE, KEY REMOVABLE | Nos | 799 | 1 | 799
60 |  | Breaker failure relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 50562 | 1 | 50562
61 |  | Trip circuit supervision relay, PRE&POST close supervision | Nos | 1464 | 1 | 1464
62 |  | Self reset tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 3360 | 1 | 3360
63 |  | Tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 14364 | 1 | 14364
64 |  | Auxiliary relay, 2Element, 4C/O S/R contactsREV H/R flag indication | Nos | 1464 | 1 | 1464
65 |  | Auxiliary relay, 2Element, 4C/O S/R contacts & H/R flag | Nos | 2120.75 | 1 | 2120.75
66 |  | NON-Directional IDMT 3O/C+1E/F relay with LBB, Over load protection | Nos | 68222 | 1 | 68222
67 |  | Numerical Differential protection relay, CT Sec-1A, PTR-110VAC, 21B1+24BO with RS232 & FO port | Nos | 398103 | 1 | 398103
68 |  | Numerical REF relay, 3DI/5DO, IEC61850on dual optical portwith PRP | Nos | 68222 | 1 | 68222
69 |  | Directional IDMT 3O/C+1E/F relay, 16BI, 7BO, CT Sec-5A/1A, PT SEC-110VAC | Nos | 168222 | 1 | 168222
220 KV C&R Panel
70 |  | Digital Ammeter CTR 1600-800/1A | Nos | 3160 | 2 | 6320
71 |  | Digital MW Meter with external transducer, CTR-1600-800/1A, PTR-220KV/1.732/110/1.732VAC, 3p4w, range 340MW-680MW with Transducer | Nos | 6320 | 1 | 6320
72 |  | Digital MVAR Meter with external transducer, CTR-1600-800/1A, PTR-220KV/1.732/110/1.732VAC, 3p4w, range 340MW-680MW | Nos | 6320 | 1 | 6320
73 |  | Digital Voltmeter, 4.5Digit PTR 220kv/1.732/110V/1.732VAC, Range-250KV | Nos | 3160 | 1 | 3160
74 |  | Voltmeter selector switch, 06 Position with off | Nos | 525 | 1 | 525
75 |  | Breaker control switch, 32A, Pistol grip handle, 3position | Nos | 1523 | 2 | 3046
76 |  | Isolator control switch (Open, Neutral, Close) 3 position, position spring return to neutra | Nos | 1523 | 2 | 3046
77 |  | Semaphore indicator, 220VDC, Bazel | Nos | 1302 | 2 | 2604
78 |  | Indicating lamp for CB open, 220VDC, Green | Nos | 21 | 3 | 63
79 |  | Indicating lamp for CB Close, 220VDC, Red | Nos | 21 | 3 | 63
80 |  | Indicating lamp for Spring charged, 220VDC, Blue | Nos | 21 | 3 | 63
81 |  | Indicating lamp for CB Auto trip, 220VDC, Amber | Nos | 21 | 3 | 63
82 |  | Indicating lamp for DC supply fail, 220VDC, Amber | Nos | 21 | 3 | 63
83 |  | Indicating lamp, 63.5VAC, Red | Nos | 21 | 3 | 63
84 |  | Indicating lamp, 63.5VAC, Yellow | Nos | 21 | 3 | 63
85 |  | Indicating lamp, 63.5VAC, Blue | Nos | 21 | 3 | 63
86 |  | Alarm annunciator,20winows | Nos | 8682 | 1 | 8682
87 |  | Alarm annunciator,24winows | Nos | 6000 | 1 | 6000
88 |  | Push button actuator green with NO element | Nos | 63.33 | 1 | 63.33
89 |  | Push button actuator Blue with NO element | Nos | 63.33 | 1 | 63.33
90 |  | Push button actuator Yellow with NO element | Nos | 63.33 | 1 | 63.33
91 |  | Trip transfer switch, 03 position (normal, Inter, Transfer) 32A, STAYPUT Lockable, key removable in all position | Nos | 1689 | 1 | 1689
92 |  | 12 Pin Synchronizing socket | Nos | 632 | 1 | 632
93 |  | Synchronizing selector switch, 03 positions (Check-off-Manual), STAYPUT TYPE, LOCKABLE TYPE, KEY REMOVABLE | Nos | 799 | 1 | 799
94 |  | Breaker failure relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 50562 | 1 | 50562
95 |  | Self reset tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 3360 | 1 | 3360
96 |  | Tripping relay, 2Element, 7NO+1NC, Elect reset contact & Flag Indiaction | Nos | 14360 | 1 | 14360
97 |  | DC Supervision relay, 2 Element, 4C/O S/R contacts, REV H/R flag indication | Nos | 1464 | 1 | 1464
98 |  | Numerical distance protection relay, CTR_/1A, PTR_/110VAC, 24DI+32DO, Single/Three phase tripping, Fault locator, Auto-Reclose, IDMT O/C&E/F, SOTF Proten, PT Fuse fail, PSB, Synch check & other feature with dual FO port for PRP & IEC 61850 protocol-SIEMENS | Nos | 444476 | 1 | 444476
99 |  | Numerical distance protection relay, CTR_/1A, PTR_/110VAC, 24DI+32DO, Single/Three phase tripping, Fault locator, Auto-Reclose, IDMT O/C&E/F, SOTF Proten, PT Fuse fail, PSB, Synch check & other feature with dual FO port for PRP & IEC 61850 protocol IRIG-B port- ALSTOM | Nos | 379935 | 1 | 379935
Mandatory spare-220/33 KV Transformer
100 |  | HV Bushing | No | 1145398 | 1 | 1145398
101 |  | LV Bushing | No | 75000 | 1 | 75000
102 |  | Buchholz Relay (Main tank) with complete contacts | No | 30000 | 1 | 30000
103 |  | Remote winding temp indicator (RWTI) | No | 35000 | 1 | 35000
104 | VV2V206001 | Oil temp indicator with contacts | No | 60000 | 1 | 60000
105 | VV2V207001 | winding temp indicator (WTI)with sensing device & matching unit | No | 70000 | 1 | 70000
106 | VV2V209001 | Pressure relief device | No | 30000 | 1 | 30000
107 | VV2V208002 | Magnetic oil gauge | No | 36000 | 1 | 36000
108 |  | Cooler fan with motor | No | 35000 | 1 | 35000
109 |  | contactors, switches and relays for electric control panels (one no. of each type) | Set | 90000 | 1 | 90000
110 |  | Remote tap position indicator | No | 20000 | 1 | 20000
111 |  | Oil flow indicator with flow switch | Set | 20000.74 | 1 | 20000.74
112 | VV2V202003 | Breather assembly for conservator and OLTC | No | 25000 | 1 | 25000
113 | MM0M007004 | Oil surge relay for OLTC | No | 100000 | 1 | 100000
Mandatory Spare-PLCC
114 | NN5N505001 | Card Type B5LA | Nos | 57335.62 | 1 | 57335.62
115 | NN5N506015 | E5LA | Nos | 57335.62 | 1 | 57335.62
116 |  | O4LA | Nos | 57335.62 | 1 | 57335.62
117 | NN5N501001 | O4LC | Nos | 57335.62 | 1 | 57335.62
118 | NN5N506013 | P3LA | Nos | 57335.62 | 1 | 57335.62
119 | NN5N506011 | P4LA | Nos | 57335.62 | 1 | 57335.62
120 | NN5N503001 | P4LB | Nos | 57335.62 | 1 | 57335.62
121 | NN5N501003 | P4LC | Nos | 57335.62 | 1 | 57335.62
122 | NN5N503003 | P4LD | Nos | 57335.62 | 1 | 57335.62
123 | NN5N503004 | P4LF | Nos | 57335.62 | 1 | 57335.62
124 | NN5N501004 | P4LG | Nos | 57335.62 | 1 | 57335.62
125 | NN5N501002 | Card Type For NSD 50-G4AA | Nos | 124800 | 1 | 124800
126 |  | Card For NSK5-G4AE | Nos | 225000 | 1 | 225000
127 | NN5N506031 | Coupling Device-A9BS | Nos | 47000 | 1 | 47000
128 |  | A9BT | Nos | 47000 | 1 | 47000
129 | NN5N506030 | 4 Wire Table Telephone | Set | 3138 | 2 | 6276
Mandatory Spare-245 KV SA
130 | KK0K002001 | 245 KV surge Arrestor with insulating base, surge monitor and terminal connector. | Nos | 70608.2 | 2 | 141216.4
Mandatory Spare-245KV CVT
131 | VV6V507002 | 245 KV CVT | Nos | 300000 | 2 | 600000
132 | VV6V603002 | Junction Box | Nos | 16870.19 | 1 | 16870.19
133 |  | Terminal connector | Nos | 1250 | 2 | 2500
Mandatory Spare-Battery
134 |  | Sapre Battery Cell (220V) | Nos | 10000 | 5 | 50000
135 | YY0Y003016 | Inter cell connectors | Nos | 150 | 15 | 2250
136 |  | Sapre Battery Cell (48V) | Nos | 6813.99 | 5 | 34069.95
137 |  | Inter cell connectors | Nos | 150 | 15 | 2250
Mandatory Spare 33KV CB
138 | JJ5J501003 | Closing coil 220V DC | Nos | 4100 | 2 | 8200
139 | JJ5J501001 | Tripping coil 220V DC | Nos | 4100 | 2 | 8200
140 | JJ5J501011 | 33KV Circuit Breaker pole | Nos | 72869.93 | 2 | 145739.86
141 |  | Density/Pressure Monitor for SF-6 | Nos | 15000 | 1 | 15000
Mandatory Spare 245 KV CB
142 | JJ2J201010 | One complete pole of 1600A CB with pole column and interrupter. (Including fixed, moving & Arcing contact including insulating nozzle) | No. | 757098.87 | 1 | 757098.87
143 |  | SF6 gas Cylinder | Kg. | 2000 | 100 | 200000
144 |  | Rubber gaskets, O rings and seals for SF6 gas(complete replacement for one breaker) | Set | 42000 | 1 | 42000
145 | JJ2J201001 | Trip coils | No. | 6000 | 4 | 24000
146 | JJ2J201003 | Closing coils | No. | 6000 | 4 | 24000
147 |  | Molecular filter for SF6 Circuit for 1 Pole of CB | Sets | 8000 | 3 | 24000
148 |  | Density/Pressure monitor for SF6 circuit for one pole of CB | No | 40000 | 1 | 40000
149 | JJ2J201004 | Closing coil assembly | No | 70000 | 1 | 70000
150 | JJ2J201002 | Trip coil assembly | No | 13000 | 1 | 13000
151 |  | Pressure gauges & coupling device of each type | Set | 29000 | 1 | 29000
152 | JJ7J710028 | Operation counter | No. | 3000 | 1 | 3000
153 | PP1P122001 | All type of coupling for SF6 gas | Set | 20000 | 1 | 20000
154 |  | Terminal connector | Nos | 1250 | 2 | 2500
155 |  | Terminal pads | Nos | 4800 | 2 | 9600
156 |  | Relays, power contactors, switch-fuse units, limit switches, push buttons, timers and MCBs etc | Set | 33500 | 1 | 33500
157 |  | Control Valves | set | 20000 | 1 | 20000
158 | JJ2J201016 | Pressure switches | set | 49560 | 1 | 49560
159 |  | Complete spring operating mechanism | No | 187000 | 1 | 187000
160 |  | Closing dashpot | set | 10000 | 1 | 10000
161 |  | Opening dashpot | set | 10000 | 1 | 10000
162 |  | Opening catch gear | set | 13000 | 1 | 13000
163 |  | Closing catch gear | set | 13000 | 1 | 13000
Mandatory Spare-Illumination
Fluorescent Lights
164 |  | Tubes | Set | 65 | 4 | 260
165 | LL6L608001 | Button Strips | Set | 50 | 10 | 500
166 |  | Holders | Set | 40 | 14 | 560
167 |  | Complete fittings | Nos | 500 | 10 | 5000
Sodium Vapour lamp
168 | LL0L009001 | Lamp holder | Set | 120 | 15 | 1800
169 | LL0L007001 | Covers | Set | 500 | 10 | 5000
170 | LL0L006004 | Reflector | Set | 700 | 7 | 4900
171 | LL0L008001 | Complete fittings HPSV | Nos. | 5500 | 6 | 33000
172 | LL6L606001 | Holders | set | 40 | 17 | 680
173 |  | Complete fittings of all types | nos | 5880 | 6 | 35280
174 | LL6L603001 | Junction boxes | set | 25.17 | 5 | 125.85
Mandatory spare-LT Switchgear
175 |  | TP Inst O/C Relay, 200-300% setting in step of 200% and adjustable Definite time, CTR-/1A, Aux supply-220VDC | No | 4860 | 1 | 4860
176 |  | Inst E/F relay, Setting 5-80% in step of 5% Definite time delay 00-25Sec, CTR-/1A, Aux sup 220VDC | No | 3425 | 1 | 3425
177 |  | Non Directional 2Pole inverse Time O/C Relay with inst High Set | No | 4887 | 1 | 4887
178 |  | Single pole Definite Time O/C relay, Setting range 50-200%, CTR-/1A | No | 3666 | 1 | 3666
179 |  | Single Pole Inst. Restricted E/F relay, CTR-/1A, Aux-220VDC | No | 3026 | 1 | 3026
180 |  | Three Pole voltage controlled inverse time O/C relayCTR-/1A, PTR 110Volt, Aux-220VDC | No | 2200 | 1 | 2200
181 |  | Single pole Non-Directional, Definit Time O/C relay. Aux-220 VDC | No | 4077 | 1 | 4077
182 |  | Differential protection relay for DG. Aux -220 VDC | No | 5300 | 1 | 5300
183 |  | High Speed tripping relay, 220VDC with 2NO+3NC Aux contact | No | 3000 | 1 | 3000
184 |  | DP Inst. Under Voltage relay. PTR-110V, Aux Supply-220VDC | No | 3200 | 1 | 3200
185 |  | Under voltage relay 2C/O Aux contactAux Supply-240VAC, Operating Voltage 220VDC | No | 1500 | 1 | 1500
186 |  | Under voltage relay 2C/O Aux contactAux Supply-240VAC, Operating Voltage 48VDC | No | 1500 | 1 | 1500
187 |  | Over voltage relay, operating voltage 220VDC, Aux supply-240 VAC | No | 1500 | 1 | 1500
188 |  | Over voltage relay, operating voltage 48VDC, Aux supply-240 VAC | No | 1500 | 1 | 1500
189 |  | Battery E/F Relay, Sensing voltage-220VDC, Aux Suply-240 VAC | No | 1500 | 1 | 1500
190 |  | Aux relay 220VDC | No | 1000 | 1 | 1000
191 |  | Metering CT CTR 1000/1A, CL-1.0, 15VA | No | 690 | 1 | 690
192 |  | Metering CT CTR 600/1A, CL-1.0, 15VA | No | 690 | 1 | 690
193 |  | Protection CT CTR 1000/1A, CL-5P15, 15VA | No | 2299 | 1 | 2299
194 |  | Protection CT CTR 600/1A, CL-5P15, 15VA | No | 1700 | 1 | 1700
195 |  | PS Class CT CTR 400/1A, 15VA, KPV 300V | No | 2000 | 1 | 2000
196 |  | PT 415/√3/110/√3, 50 VA, CL-0.5, Single phase. | No | 1831 | 1 | 1831
197 |  | Frequency meter 45-55Hz, 415 V AC (Analogue) | No | 759 | 1 | 759
198 |  | 3-Ph 4 Wire KWH meter | No | 1200 | 1 | 1200
199 |  | Ammeter 0-1000A, CTR 1000/1A (Analouge) | No | 463 | 1 | 463
200 |  | Ammeter 0-600A, CTR 600/1A (Analouge) | No | 463 | 1 | 463
201 |  | Ammeter 0-400A, CTR 400/1A (Analouge) | No | 463 | 1 | 463
202 |  | Ammeter with Shunt (0-75mV) (Analouge) | No | 2054 | 1 | 2054
203 |  | Voltmeter Analouge Type, 0-500V, 415 VAC | No | 454 | 1 | 454
204 |  | Voltmeter Analouge Type, 300-0-300, 220 VDC | No | 722 | 1 | 722
205 |  | Voltmeter Analouge Type, 75-0-75, 48 VDC | No | 726 | 1 | 726
206 |  | Ammeter selector switch-6A | No | 284 | 1 | 284
207 |  | voltmeter selector switch-6A, 4 position | No | 209 | 1 | 209
208 |  | Breaker controlswitch-25 A | No | 1392 | 1 | 1392
209 |  | Auto/Mannual selector switch 8P, 3Way without off-6A | No | 231 | 1 | 231
210 |  | Auto/Mannual selector switch 4P, 3Way without off-16A | No | 350 | 1 | 350
211 |  | Push Button, Spring return type with 1NO+1NC contact, Green | No | 144 | 1 | 144
212 |  | Push Button, Spring return type with 1NO+1NC contact, Red | No | 144 | 1 | 144
213 |  | TPN MCB 10KA, C Curve, AC-16 A | No | 513 | 1 | 513
214 |  | DP MCB, 10 KA, C Curve, AC-10A | No | 325 | 1 | 325
215 |  | DP MCB 10KA, AC-16A | No | 357 | 1 | 357
216 |  | DP MCB 10KA, DC-16A | No | 357 | 1 | 357
217 |  | DP MCB, 4KA 48VDC-20A | No | 489 | 1 | 489
218 |  | DP MCB, 4KA 220VDC-20A | No | 325 | 1 | 325
219 |  | DP Switch, 220 VDC, Air Break Type-250A | No | 2000 | 1 | 2000
220 |  | DP Switch, 48 VDC, Air Break type-250A | No | 2000 | 1 | 2000
221 |  | 4P Electrically operated MCCB 20KA with O/L-400A | No | 2100 | 1 | 2100
222 |  | TP MCCB with thermal magnetic release for O/L-400A | No | 10000 | 1 | 10000
223 |  | TP MCCB with thermal magnetic release for O/L-100A | No | 1200 | 1 | 1200
224 |  | TP MCCB with thermal magnetic release for O/L-63A | No | 2000 | 1 | 2000
225 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 220 VDC-320 A | No | 3000 | 1 | 3000
226 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 48 VDC-320 A | No | 3000 | 1 | 3000
227 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 220 VDC-250A | No | 3000 | 1 | 3000
228 |  | DP MCCB, 4KA with thermal magnetic release for O/L for 48 VDC-250 A | No | 3000 | 1 | 3000
229 |  | SP On/Off rotary switch-6A | No | 200 | 1 | 200
230 |  | Door switch-6A | No | 50.34 | 1 | 50.34
231 |  | 5/15 A switch socket 3Pin | No | 75 | 1 | 75
232 |  | Reset push button black | No | 144 | 1 | 144
233 |  | SP MCB, 10KA, 20A | No | 75 | 1 | 75
234 |  | SP MCB, 10KA, 63A | No | 75 | 1 | 75
Mandatory Spare-Battery Charger
235 |  | 220 V DC Charger- 3PH RC Card-69-00003 | No | 5239.53 | 1 | 5239.53
236 |  | 3PH Pulse TXR Card 69-00082-03 | No | 5239.53 | 1 | 5239.53
237 |  | Connector Card 69-00360-01 | No | 5239.53 | 1 | 5239.53
238 |  | LED Display Card 69-00084 | No | 5239.53 | 1 | 5239.53
239 |  | MA Card 69-00083 | No | 5239.53 | 1 | 5239.53
240 |  | 3PH Control card 69-00081-02 | No | 5239.53 | 1 | 5239.53
241 |  | Mains fail card 69-00087 | No | 5239.53 | 1 | 5239.53
242 |  | Fuse fail card 69-00123 | No | 5239.53 | 1 | 5239.53
243 |  | Fuse fail card 69-00390 | No | 5239.53 | 1 | 5239.53
244 |  | SUB LED card 69-00090 | No | 5239.53 | 1 | 5239.53
245 |  | Relay card 69-00088 | No | 5239.53 | 1 | 5239.53
246 |  | Temp Sensor card 69-00300 | No | 5239.53 | 1 | 5239.53
247 |  | Relay 11 Pin 5A 24 VDC 3C/O | No | 2000 | 1 | 2000
248 |  | Relay 11 Pin 5A 220 VDC 3C/O | No | 2000 | 1 | 2000
249 |  | Contactor 65A 3P 415 VAC | No | 4500 | 1 | 4500
250 |  | Switch Toggle 1P ON/OFF 6A AC | No | 350 | 1 | 350
251 |  | Capacitor ELE 4700mfd 450 VDC | No | 2500 | 2 | 5000
252 |  | THY-THY Module 90 A 1200PIV | No | 2000 | 1 | 2000
253 |  | Diode Stud 250A 1200 PIV | No | 1500 | 1 | 1500
254 |  | Resistor WWR 20 K 12W | No | 51.04 | 1 | 51.04
255 |  | Resistor WWR 12 K 12W | No | 35 | 1 | 35
256 |  | Resistor WWR 15 K 12W | No | 20 | 1 | 20
257 |  | Switch CAM 1P 4W NO/OFF 10A AC | No | 375 | 1 | 375
258 |  | Switch Volt Select 4P 4Way W/Off 10A AC | No | 275 | 1 | 275
259 |  | Potentiometer Multiturn 20K | No | 650 | 2 | 1300
260 |  | Fuse BS 110A 690 Volt 200KA | No | 175 | 6 | 1050
48V DC Charger-
261 |  | 3PH RC Card-69-00003 | No | 5239.53 | 1 | 5239.53
262 |  | 3PH Pulse TXR Card 69-00082-03 | No | 5239.53 | 1 | 5239.53
263 |  | Connector Card 69-00360-01 | No | 5239.53 | 1 | 5239.53
264 |  | DC-DC conv Card 69-00085 | No | 5239.53 | 1 | 5239.53
265 |  | LED Display Card 69-00084 | No | 5239.53 | 1 | 5239.53
266 |  | MA Card 69-00083 | No | 5239.53 | 1 | 5239.53
267 |  | 3PH Control card 69-00081-02 | No | 5239.53 | 1 | 5239.53
268 |  | Mains fail card 69-00087 | No | 5239.53 | 1 | 5239.53
269 |  | Relay card 69-00088 | No | 5239.53 | 1 | 5239.53
270 |  | Fuse fail card 69-00123 | No | 5239.53 | 1 | 5239.53
271 |  | Temp Sensor card 69-00300 | No | 5239.53 | 1 | 5239.53
272 |  | Gen Relay card 69-00333 | No | 5239.53 | 1 | 5239.53
273 |  | SUB LED card 69-00090 | No | 5239.53 | 1 | 5239.53
274 |  | Relay 11 Pin 5A 24 VDC 3C/O | No | 2000 | 1 | 2000
275 |  | Relay 11 Pin 5A 48 VDC 3C/O | No | 2000 | 1 | 2000
276 |  | Contactor 65A 3P 415 VAC | No | 4500 | 1 | 4500
277 |  | Switch Toggle 1P ON/OFF 6A AC | No | 350 | 1 | 350
278 |  | Capacitor ELE 4700mfd 450 VDC | No | 2500 | 2 | 5000
279 |  | THY-THY Module 90 A 1200PIV | No | 2000 | 1 | 2000
280 |  | Diode Stud 250A 1200 PIV | No | 1500 | 1 | 1500
281 |  | Potentiometer Multiturn 20K | No | 51.04 | 1 | 51.04
282 |  | Resistor WWR 12 K 12W | No | 35 | 1 | 35
283 |  | Resistor WWR 15 K 12W | No | 20 | 1 | 20
284 |  | Switch CAM 1P 4W NO/OFF 10A AC | No | 375 | 1 | 375
285 |  | Switch Volt Select 4P 4Way W/Off 10A AC | No | 275 | 1 | 275
286 |  | Potentiometer Multiturn 20K | No | 650 | 2 | 1300
287 |  | Fuse BS 110A 690 Volt 200KA | No | 175 | 6 | 1050
Mandatory Spare- Erection Hardware
288 |  | 220 KV H/W Fitting- DTF Suitable for ACSR Single zebra cond with turn buckle | No | 3650 | 1 | 3650
289 |  | DTF Suitable for ACSR Single zebra cond with out turn buckle | No | 3250 | 1 | 3250
290 |  | DTFSuitable for ACSR twin zebra cond with turn buckle | No | 4650 | 1 | 4650
291 |  | DTFSuitable for ACSR twin zebra cond with out turn buckle | No | 4250 | 1 | 4250
292 |  | Single Suspension fitting for ACSR Single zebra cond with through type clamp | No | 1200 | 1 | 1200
293 |  | Single Suspension fitting for ACSR Single zebra cond with drop type clamp | No | 1200 | 1 | 1200
294 |  | Single Suspension fitting for ACSR Twin zebra cond with through type clamp | No | 2400 | 1 | 2400
295 |  | Single Suspension fitting for ACSR Twin zebra cond with drop type clamp | No | 2400 | 1 | 2400
33 KV H/W Fitting-
296 |  | DTF Suitable for ACSR Single zebra cond with turn buckle | No | 3650 | 1 | 3650
297 |  | DTF Suitable for ACSR Single zebra cond with out turn buckle | No | 3250 | 1 | 3250
298 |  | DTFSuitable for ACSR twin zebra cond with turn buckle | No | 4650 | 1 | 4650
299 |  | DTFSuitable for ACSR twin zebra cond with out turn buckle | No | 4250 | 1 | 4250
300 |  | Single Suspension fitting for ACSR Single zebra cond with through type clamp | No | 1200 | 1 | 1200
301 |  | Single Suspension fitting for ACSR Single zebra cond with drop type clamp | No | 1200 | 1 | 1200
302 |  | Single Suspension fitting for ACSR Twin zebra cond with through type clamp | No | 2400 | 1 | 2400
303 |  | Single Suspension fitting for ACSR Twin zebra cond with drop type clamp | No | 2400 | 1 | 2400
Clamp & Connectors-
304 |  | Terminal conn on 220KV CB to suit single Zebra | No | 1417 | 2 | 2834
305 |  | TC on 33KV LA to suit single zebra | No | 735 | 1 | 735
306 |  | TC on 220 KV CVT to suit single zebra | No | 1908 | 1 | 1908
307 |  | TC on 220 KV WT to suit single zebra | No | 1417 | 1 | 1417
308 |  | TC on 33 KV CT to suit twin zebra | No | 2186 | 1 | 2186
309 |  | TC on 220 KV LA to suit single zebra | No | 1417 | 1 | 1417
310 |  | TC on 220 KV Isolator to suit single zebra | No | 1417 | 3 | 4251
311 |  | TC on 220 KV Tendem isolator to suit single zebra Vertical | No | 1417 | 1 | 1417
312 |  | TC on 33KV BPI to suit twin zebra | No | 2330 | 1 | 2330
313 |  | TC on 33 KV CB to suit twin zebra | No | 1847 | 1 | 1847
314 |  | TC on 33KV BPI to suit single zebra | No | 895 | 1 | 895
315 |  | Spacer 250mm | No | 905 | 11 | 9955
316 |  | TC on 33KV CT to suit single zebra | No | 1052 | 2 | 2104
317 |  | TC on 220 KV BPI to suit single zebra | No | 992 | 1 | 992
318 |  | TC on 220 KV Side of 50 MVA T/F to suit single zebra | No | 2367 | 1 | 2367
319 |  | TC on 33 KV CB to suit single zebra | No | 984 | 2 | 1968
320 |  | TC on 220 KV Tendem isolator to suit single zebra through type | No | 1607 | 1 | 1607
321 |  | TC on 33KV isolator to suit single zebra | No | 984 | 7 | 6888
322 |  | TC on 33KV Isolator to suit twin zebra | No | 2156 | 2 | 4312
323 |  | TC on 33KV LA to suit twin zebra | No | 1744 | 1 | 1744
324 |  | Al Lug on 33KV Fuse to suit single zebra | No | 1200.92 | 1 | 1200.92
325 |  | 220 KV BPI | No | 19395 | 1 | 19395
326 | II0I001007 | Disc insulator 70 KN | No | 485 | 37 | 17945
327 |  | C-wedge connector to suit zebra to zebra | No | 1530.95 | 8 | 12247.6
Mandatory Spare-Fire prot. System
328 |  | Filled Nitrogen cylinder | No | 75270.88 | 1 | 75270.88
329 | PP1P125002 | Hose pipe with fittings | Set | 15000 | 2 | 30000
330 |  | Heat Detectors | No | 20000 | 3 | 60000
331 |  | Horn with bend pipe for 2KG Co2 Type | No | 3956.33 | 1 | 3956.33
332 |  | Hose & Horn for 22.5 Kg Co2 type | No | 3956.33 | 1 | 3956.33
333 |  | Discharge hose with nozzle for mechanical foam type 45 Litre | No | 3956.33 | 1 | 3956.33
Madatory Spare- 245KV CT
334 | VV3V302001 | 245 KV CT1600/800/1Amp (5Core) 1-PH | No | 349768.72 | 2 | 699537.44
335 | V103 | Terminal connector | No | 1250 | 2 | 2500 | [8 empty] | Survey of Scrap material done by MM roorkee on dated 31.03.2021
336 |  | 33 KV Potential Transformer | No | 37646.76 | 2 | 75293.52
337 | VV2V204007 | Empty T/F oil drum | Nos. | 0 |  | 0 | [6 empty] | 6 | 0
338 | SS6S610027 | HRC Fuse 2Amp. | Nos. | 53.1 | 20 | 1062
339 | SS6S610026 | HRC Fuse 4Amp. | Nos. | 64.9 | 14 | 908.6
340 | SS6S610022 | HRC Fuse 6Amp. | Nos. | 70.8 | 7 | 495.6
341 | SS6S610020 | HRC Fuse 10Amp. | Nos. | 82.6 | 2 | 165.2
342 | SS6S610019 | HRC Fuse 16Amp. | Nos. | 94.4 | 4 | 377.6
343 | VV2V203001 | Supply of good quality silica gel crystal of size 4-6mm | kg. | 365.8 | 10 | 3658
344 | VV2V202003 | Supply of silica gel breathers for power T/F s conservator tank having capacity of 5kg with necessary fitting flanges | Nos. | 7080 | 3 | 21240
345 | VV2V202002 | Supply of silica gel breathers for power T/F s OLTC tank having capacity of 2kg with necessary fitting flanges | Nos. | 4720 | 3 | 14160
346 |  | Supply of 3 phase 440v 1kw T/F cooling fans having 18 dia and 960 RPM with all the fittings nuts & bolts | Nos. | 24072 | 2 | 48144
347 |  | Pilot fiting ACSR Zebra | Nos. | 3001.9 | 30 | 90057
348 | II5I501004 | Single tension fitting ACSR Zebra | Nos. | 4097.84 | 2 | 8195.68
349 | II5I501004 | Double tension fitting ACSR Zebra | Nos. | 8576.87 | 1 | 8576.87
350 | II2I202001 | Tension clamp for 7/9 SWG G.S Earth Wire | Nos. | 1334.18 | 12 | 16010.16
351 | II5I504004 | Suspension Fitting ACSR Zebra | Nos. | 4764.93 | 3 | 14294.79
352 | II3I303008 | Vibration Damper For Earth Wire | Nos. | 1000.64 | 6 | 6003.84
353 | II3I301003 | Mid Span joint ACSR Zebra | Nos. | 1076.31 | 7 | 7534.17
354 | II3I302003 | Repair Sleeve For ACSR Zebra | Nos. | 828.73 | 2 | 1657.46
355 | II0I001001 | Disc Insulator 160KN | Nos. | 798.79 | 49 | 39140.71 | [8 empty] | Survey of Scrap material done by MM roorkee on dated 31.03.2021
356 | II0I001001 | Disc Insulator 160KN | Nos. | 565.9 | 295 | 166940.5
357 |  | Galvanized Steel Structure (Template &Tower) | MT. | 118643.68 |  | 0 |  |  | 6.8 | 806777.024
358 |  | Earth Wire 7/9 SWG | Mtr | 66.95 |  | 0 | [6 empty] | 65 | 4351.75
359 | AA0A002003 | ACSR Zebra Conductor (cut & Pieces) | Mtr. | 100 | 401 | 40100
360 | NN5N506031 | Coupling Device(LMU) | Nos. | 200000 | 1 | 200000
361 |  | Power cable(PVC) Aluminium 6 Sqmm X 4C | KM. | 102660 | 1.006 | 103275.96
362 |  | 16 Sqmm X 4C | KM. | 147500 | 1.001 | 147647.5
363 |  | 70Sqmm X 3.5C | KM. | 389400 | 0.811 | 315803.4
364 |  | HF Cable | KM. | 147500 | 0.228 | 33630 | [8 empty] | Survey of Scrap material done by MM roorkee on dated 31.03.2021
365 |  | Al/Aluminium alloy Scrap | Kg. | 25 |  | 0 | [6 empty] | 45 | 1125
366 |  | Vaccum pressure impregnation copper ballast for floursecnt tubular lamp 240V,36W/40W | Nos. | 291.46 | 6 | 1748.76
367 |  | Miniature Circuit Breaker (MCB) Tripple Pole 32Amp 220/240 Volt of Branded Company, C&S/Havells/ ABB. | Nos. | 531 | 2 | 1062
368 |  | Old & Used Trip Ckt Supervision Faulty Relay | Nos. | 10 |  | 0 | 2 | 20
369 |  | Sheath bonding cable1CX300mm2 | Mtr. | 2496.88 | 40 | 99875.2
370 |  | ACSR Zebra Conductor ( Cuts & bits) | Mtr. | 100 | 60 | 6000
371 |  | HF cable | Mtr. | 65 | 250 | 16250
372 |  | Galvanized B(2*-15*) Type D/C tower with bolts Nuts flat washer pack washer & stub including body extension (Stub 01 set @ 0.258MT) | MT. | 90210.2102 | 0.258 | 23274.2342
373 |  | Disc insulator 90KN | Nos. | 557.41 | 4 | 2229.64
374 |  | Disc Insulator 160KN | Nos. | 820.98 | 116 | 95233.68
375 |  | Disc insulator 90KN | Nos. | 823.68 | 50 | 41184
|  |  |  | Total |  | 12552050.0591 |  | 20 |  | 806777.024 |  |  |  | 115226.75
Monthly report of inventory categorized for monitoring
Inventory report for the month of :- 23-12-21 to 22.01.2022
Name of Division :- 220 kv O&M Division Piran Kaliyar
Name of S/S;- 132 KV S/S Bhagwanpur | [9 empty] | Name Of J.e Mange Ram
S. No | Item Code | Name of Item | unit | Unit Rate in RS | Usable |  | Unserviceable |  | Non- Moving |  | Obsolete |  | Scrap
[5 empty] | Qty | Total Amount Rs | Qty | Total Amount Rs | Qty | Total Amount Rs | Qty | Total Amount Rs | survey (2018) | survey (2020) | Scrap Qty (2021) | Total scrap | Amount
1 | VV3V303007 | 145 KV CT 400/200/1A | No. | 108485 | 1 | 108485
2 |  | 132 KV 400 A Isolator connector for Zebra. | No. | 1413 | 2 | 2826
3 |  | 132 KV Isolator Jaw. | No. | 2833 | 3 | 8499
4 |  | 40 MVA 33KV T/F L.V Clamp. | No. | 2500 | 1 | 2500
5 |  | 40 MVA LV side T/F Busning block in two pices of size 90*90 mm. | No. | 1414 | 8 | 11312
6 |  | 33 KV Porcelain post Insulator for 33 KV Isolator. | No. | 4503 | 3 | 13509
7 |  | 33 KV T/F Busning block ACSR twin Moose . Cond. | No. | 2497 | 2 | 4994
8 |  | 33 KV Bus Isolator Clamp for Trantulla Cond. | No. | 706 | 7 | 4942
9 | II1I106002 | 33 KV T.Connector Trantulla to Moose. Cond. | No. | 1213.8 | 2 | 2427.6
10 | II1I107004 | 33 KV T.Connector Moose to Panther. Cond. | No. | 999.6 | 2 | 1999.2
11 |  | 132 KV Comosite long rod Insulator 120 KN | No. | 2938 | 2 | 5876
12 |  | 5 watt LED Type Recharable torch | No. | 2920 | 2 | 5840
13 |  | 33 KV CT Clamp for ACSR twin Moose Cond. | No. | 807 | 3 | 2421
14 | II1I107001 | 33 KV T.Connector for Moose to Moose . Cond. | No. | 1009.8 | 1 | 1009.8
15 |  | 33 KV Isolator clamp for ACSR Single moose cond. | No. | 1303 | 14 | 18242
16 |  | 33 Kv specer cum droper for ACSR Single Moose Cond. | No. | 1123.65 | 7 | 7865.55
17 |  | 33KV VCB Clamp for Twin Moose | No. | 1021 | 6 | 6126
18 |  | Box for MCB water Proof Casing | No. | 1174 | 5 | 5870
19 |  | Pad terminal of 33 KV Isolator Terminal ACSR Panther Cond. | No. | 975 | 6 | 5850
20 |  | Isilator Pad Terminal For ACSR Zebra Conductor | No. | 1166 | 2 | 2332
21 |  | S/T Clamp Suitable For 7/9 SWG E/W | No. | 1112 | 17 | 18904
22 |  | suspension Clamp For 7/10 SWG G.S earth Wire | No. | 752 | 1 | 752
23 |  | Repair sleeve For ACSR Panther Conductor | No. | 444 | 8 | 3552
24 |  | Mid Span Joint For 7/10 SWG G.S earth Wire | No. | 376 | 19 | 7144
25 |  | G.I Earth Wire Fitting For 7/9 SWG | No. | 1700 | 4 | 6800
26 |  | Extension Line For E/W Clamp | No. | 340.5 | 2 | 681
27 |  | Daily Log Sheet | No. | 732 | 6 | 4392
28 |  | Silica gel | Kg | 460 | 10 | 4600
29 |  | 33 Kv Isolator Felxible Copper Muiith Strip | No. | 1180 | 3 | 3540
30 |  | 33 KV CB Clamp for Single Moose cond. | No. | 1959 | 3 | 5877
31 |  | 33 KV Bus Isolator Clamp for Single moose Cond. | No. | 967.5 | 2 | 1935
32 |  | 33 KV CT 800/400/1Amp (O&U) Repair | No. | 4000 | 1 | 4000
33 | II1I105001 | 'C'' type Fast wedge Panther to Panther | No. | 1640.2 | 8 | 13121.6
34 | II1I104002 | 'C'' type Fast wedge Zebra to Panther | No. | 3292.2 | 10 | 32922
35 | II1I104001 | 'C'' type Fast wedge Zebra to Zebra | No. | 3528.2 | 7 | 24697.4
36 |  | 33 KV Isolator Terminal " I " Shape (O&U) | No. | 40 | 2 | 80
37 |  | 33 KV Isolator Terminal " Z " Shape (O&U) | No. | 55 | 2 | 110
38 |  | Pennel Heater for Control & Relay penal | No. | 487.34 | 3 | 1462.02
39 | FF1F105002 | G.I Nuts & Bolts12x65 mm | Set | 22 | 28 | 616
40 |  | G.I Nuts & Bolts 10x65mm | Set | 19.47 | 19 | 369.93
41 |  | Strip of 132 KV CT terminal rod. | No | 577 | 10 | 5770
42 |  | C.T Clamp for panther Cond. | No | 1173 | 2 | 2346
43 |  | 33 KV LA | No | 19588 | 1 | 19588
44 |  | Havels Make 33 KV 400 Sq MM Power Cable | Mtr | 2289.9 | 100 | 228990
45 |  | D Schale | No. | 578 | 7 | 4046
46 |  | pad connector for panther | No. | 973.5 | 1 | 973.5
47 | PP0P015016 | Pp Rope of 12 Mm | Mtr. | 53.12 | 100 | 5312
48 |  | Panel sealing lock | No. | 584 | 2 | 1168
49 |  | Alluminium Tape | Kg | 200 | 56 | 11200
50 |  | AE make Digtal Amp meter CTR 800/400/1A | No. | 4540 | 1 | 4540
51 |  | AE make Digtal M.W moter CTR 800/400/1Aacc 0.5 | No. | 9080 | 1 | 9080
52 | TT1T101019 | Bay maintenace Resister | No. | 454 | 2 | 908
53 | TT1T101018 | Battery Register | No. | 489.7 | 1 | 489.7
54 | II0I001007 | Disk insulator 70 KN | No. | 330 | 27 | 8910
55 |  | Disk insulator 120 KN | No. | 2246.75 | 27 | 60662.25
56 | SS6S610027 | HRC type NS Fuse 415V, 80ka, 2Amp | No. | 70 | 2 | 140
57 | SS6S610026 | HRC type NS Fuse 415V, 80ka, 4Amp | No. | 80 | 10 | 800
58 | SS6S610022 | HRC type NS Fuse 415V, 80ka, 6Amp | No. | 90 | 5 | 450
59 | SS6S610020 | HRC type NS Fuse 415V, 80ka, 10 Amp | No. | 55.46 | 24 | 1331.04
60 | SS6S610010 | HRC type NS Fuse 415V, 80ka, 32 Amp | No. | 290.28 | 10 | 2902.8
61 | SS6S610019 | HRC type NS Fuse 415V, 80ka, 16 Amp | No. | 56.64 | 19 | 1076.16
62 |  | "I" Shape Cu terminal Plate for Isolator | No. | 1470 | 3 | 4410
63 |  | "Z" Shape Cu terminal Plate for Isolator | No. | 1958.8 | 11 | 21546.8
64 | TT1T101027 | Inspection Register | No. | 454 | 1 | 454
65 | TT1T101026 | Instruction Register | No. | 454 | 3 | 1362
66 |  | L-shape dropper connector for Tarantulla cond. For 40 MVA T/F. | No. | 1411 | 2 | 2822
67 | TT1T101040 | Message Register | No. | 454 | 2 | 908
68 |  | WTI Meter (0-120 0C ) | No. | 10782.5 | 1 | 10782.5
69 |  | OTI Meter 40/20 MVA T/F | No. | 10782.5 | 1 | 10782.5
70 | MM2M202010 | Volt meter Range -0-40 Kv AC ptr-132 KV / √3 110 V /√3 | No. | 4956 | 1 | 4956
71 | MM2M202013 | Volt meter Range -0-150 Kv DC 110 V Dc | No. | 4130 | 1 | 4130
72 | MM2M203007 | Ampere meter Range -0-800 Amp AC CTR 800/ 1 Amp 110 V DC | No. | 10620 | 2 | 21240
73 | MM2M204006 | MW Meter Range 100-0-100 MW PTR 132 KV √V CTR 400/1 Amp | No. | 10620 | 1 | 10620
74 |  | MW Meter Range 50-0-50 MW PTR 132 KV √V CTR 800/1 Amp | No. | 10620 | 1 | 10620
75 |  | One side boltless Wedge CT Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 7 | 24780
76 |  | One side boltless Wedge Isolator Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 7 | 24780
77 |  | One side boltless Wedge 4 Hole pad connector Connector C-wedge Connector zebra To Zebra Conductor | No. | 3540 | 7 | 24780
78 | CC3C307001 | Raychem Make 33 KV Outdoor Termination Kit for 3x400Sq mm XLPE Cable | No. | 20145 | 1 | 20145
79 | II01005001 | PG Clamp Zebra to Zebra | No. | 685 | 2 | 1370
80 | II01006001 | PG Clamp Panther to Panther Cond.. | No. | 978.22 | 1 | 978.22
81 | II01005002 | PG Clamp Panther to Zebra. | No. | 619 | 1 | 619
82 |  | Repair Sleave for Panther cond. | No. | 600 | 9 | 5400
83 | FF3F302001 | Rail105 LBS (Bend) 1.80 mtr. Long | No. | 800 | 1 | 800
84 |  | Type MK-1 L&T DOL Starter 3 phase 415V,15Amp with O/L Relay. | No. | 3292 | 2 | 6584
85 |  | Transformer Maintenance Register. | No. | 454 | 4 | 1816
86 | II5I501005 | Bolted Type Tension fitting for panther (O&U) | No. | 1200 | 19 | 22800
87 | II5I501006 | Bolted Type Suspension fitting for panther (O&U) | No. | 1200 | 1 | 1200
88 | II5I501001 | Bolted Type Single Tension fitting for Tarantulla cond.(O&U) | No. | 2000 | 24 | 48000
89 |  | T/F Cooling Fan O&U. | No. | 16048.9 | 4 | 64195.6
90 |  | T Clamp for Panther O&U. | No. | 300 | 11 | 3300
91 | SS5S502001 | 11KV TPMO (inc.) | No. | 4000 |  |  |  |  | 2 | 8000
92 |  | 33 KV CT ratio 50/25/1A | No. | 18300 |  |  |  |  | 3 | 54900
93 |  | ACSR Moose Cond cut & bits | Mtr. | 160 |  |  |  |  | 135 | 21600
94 |  | ACSR Panther Cond cut & bits | KM | 232512.5 | 0.714 | 166013.925
95 |  | ACSR Tarantulla Cond In Cut & bits | Mtr. | 140 |  |  |  |  | 410 | 57400
96 | II0I002001 | PG Clamp Tarantulla to Tarantulla. | No. | 619 |  |  |  |  | 14 | 8666
97 |  | T-clamp for Tarantulla to Tarantulla cond. | No. | 300 |  |  |  |  | 12 | 3600
98 |  | CT clamp for Tarantulla | No. | 806 |  |  |  |  | 3 | 2418
99 |  | CT clamp for Tarantulla cond. (O&U) | No. | 300 |  |  |  |  | 12 | 3600
100 |  | T Clamp for Tarantulla to Panther O&U. | No. | 400 |  |  |  |  | 28 | 11200
101 |  | T/F bushing clamp for Tarantulla cond. O&U. | No. | 500 |  |  |  |  | 6 | 3000
102 |  | Galvanized steel tower part | MT | 130625 | 3.3 | 431062.5
103 |  | Scrap items
104 |  | 33 KV LA Damage (Scrap) | No | 200 | 1 | 200
105 |  | ACSR Panther Cond Scrap | Kg | 100 | 432 | 43200
106 |  | 7/10 SWG G.S eart wire Scrap | Kg | 20 | 53.5 | 1070
107 |  | 132 KV CT Damage ratio 800/400/1A. | No. | 2000 | [11 empty] | 2 | 4000
108 |  | 36 KV CT damage ratio 800/400/1A | No. | 4000 | [8 empty] | 3 |  | 1 | 4 | 16000
109 |  | 33 KV CT ratio 800/400/1A Defective | No. | 5000 | [8 empty] | 1 |  |  |  | 5000
110 |  | 33 KV CT burnt & damage completely | No. | 500 | [8 empty] | 1 |  |  | 1 | 500
111 |  | 36 KV Ct Ratio 400/200/1A (O&U)burnt & damage | No. | 3000 | [8 empty] | 1 |  |  | 1 | 3000
112 |  | 33 KV PT Damage (MS) Scrap | No. | 1000 | [8 empty] | 2 |  |  | 2 | 2000
113 |  | 33 Kv Circuit breakar damage | no | 15000 | [8 empty] | 1 |  |  | 1 | 15000
114 |  | Analong OTI meter range 0-120degc Defective | No. | 50 | [8 empty] | 1 |  |  | 1 | 50
115 |  | Analog MVAR meter (O&U) | No. | 200 | [8 empty] | 2 |  |  | 2 | 400
116 |  | Analog MW meter (O&U) | No. | 200 | [8 empty] | 2 |  |  | 2 | 400
117 |  | Energy Meter (O&M) secure | No. | 500 | [8 empty] | 5 |  |  | 5 | 2500
118 |  | Energy Meter (O& U) obsolete U/S | No. | 20 | [9 empty] | 15 | 1 |  | 320
119 |  | Energy meter 3p 4wire secure make (Burnt) | No. | 50 | [8 empty] | 3 |  |  | 3 | 150
120 |  | Energy meter 3p 4wire L&T make (Burnt) | No. | 50 | [8 empty] | 1 |  |  | 1 | 50
121 |  | Digital Amp meter CTR 400/1 Defective (Brunt) | No. | 50 | [8 empty] | 1 |  |  | 1 | 50
122 |  | Digital Volt meter 33kv 0-40 kv aux supply 110 PTR volt Defective | No. | 150 | [8 empty] | 1 |  |  | 1 | 150
123 |  | Digital Repeater OTI Meter Defective | No. | 50 | [8 empty] | 1 |  |  | 1 | 50
124 |  | Digital Repeater WTI Meter Defective | No. | 160 | [8 empty] | 1 |  |  | 1 | 160
125 |  | Digital Volt meter 110 volt charger 0-400 VDC Defective | No. | 20 | [8 empty] | 1 |  |  | 1 | 20
126 |  | Digital MW AE make 3 phase 3 wire PTR/132 KV 110V, AC/DC CTR 400/1A. | No. | 7000 | [8 empty] | 1 |  |  | 1 | 7000
127 |  | Empty T/F oil Drum 45 gallon capacitor | No. | 150 | [8 empty] | 91 |  | 2 | 93 | 13950
128 |  | Empty Drum of T/F oil | No. | 200 | [11 empty] | 5 | 1000
129 |  | Aluminium scrap of Clamp /comector | Kg | 80 | [8 empty] | 3.3 | 5 | 4.25 | 12.55 | 1004
130 |  | Tarantulla cond.as Scrap | Mtr. | 80 | [8 empty] | 15 |  |  | 15 | 1200
131 |  | 132 KV LA (O&U) Damage Completely (scra) | No. | 50 | [9 empty] | 2 |  | 2 | 100
132 |  | G.I Scrap (tower Part) | Kg | 12 | [9 empty] | 30 |  | 30 | 360
133 |  | O/C ,E/F Relay Obsulet (Scrap) Relay | No. | 50 | [9 empty] | 9 |  | 9 | 450
134 |  | M.S Scrap (Junction Box) | Kg | 15 | [9 empty] | 50 |  | 50 | 750
135 |  | XLPE Cable 3x400 Sq mm Damage (Scrap) | Mtr | 30 | [10 empty] | 28 | 28 | 840
136 |  | O/C ,E/F Relay (ABB) (Scrap) | No. | 50 | [10 empty] | 2 | 2 | 100
137 |  | Distance Protection Relay obsolerte Scap | No. | 50 | [10 empty] | 2 | 1 | 100
138 | AA1A101002 | G.S. Earth wire 7/10 SWG O&U in cutpice. (SCRAP) (1mtr =.47 kg)=.47x.200=94 Kg | KM | 25000 | [11 empty] | 0.20 ( 94 Kg) | 5000
|  |  |  | Total |  | 1726893.595 |  |  |  | 174384 | [6 empty] | 81654
|  | Total Usable + Non-Moving + Scrap |  | 1982931.595
Name of Zone- Garhwal
Name of Circle- Roorkee
Name of Division- 220 KV O&M Division Imlikheda(Piran Kaliyar)
Name of Sub-Station- 132 KV Sub- Station Chudiyala
Month- JANUARY- 2022
S.No. | Item Code | Name of Item | Unit | Unit Rate in Rs. | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs.
1 | VV5V406003 | C.T Junction Box | No. | 4540 | 3 | 13620
2 | VV6V603003 | P.T Junction Box | No. | 4540 | 2 | 9080
3 |  | 132 KV Post Insulator | No. | 12720 | 2 | 25440
4 | LL6L603001 | Lighting Junction Box. | No. | 2837.5 | 1 | 2837.5
5 |  | Main & auxiluries lattice structure for 132 KV Gantries equipment nut & bolt | MT | 106414.4 | 1.408 | 149831.4752
6 | CC3C316005 | GI cable Tray150mm | Mtr | 221.33 | 50 | 11066.5
7 | CC3C316006 | GI cable Tray100mm | Mtr | 221.33 | 19 | 4205.27
8 | CC3C316007 | GI cable Tray75mm | Mtr | 100 | 20 | 2000
9 |  | GI flat 50X6mm | MT | 88341 | 0.28 | 24735.48
10 |  | Ms Rod 36mm dia. | MT | 84325 | 0.042 | 3541.65
11 | FF1F108003 | U- Bolt | No. | 50 | 18 | 900
12 | CC3C303001 | Indoor Type End termination Kit 33 KV 400x3 XLPE Cable(New) | No. | 28084 | 3 | 84252
13 | CC1C104002 | LT cable3.5x400 Sq mm | Mtr | 700 | 55 | 38500
14 | CCOCOO2011 | PVC control cable 4X2.5 sq mm | Mtr | 96.29 | 490 | 47182.1
15 | CC0C001013 | PVC Control cable 6x2.5 mm sq | Mtr | 177.3 | 840 | 148932
16 | CCOCOO1003 | PVC Control cable 18x2.5 mm sq ( O/U) | Mtr | 100 | 99 | 9900
17 | CC0C001020 | PVC control cable size 2X2.5 sq mm | Mtr | 117.68 | 35 | 4118.8
18 | AA0A002004 | ACSR Panther Conductor Panther | Mtr | 232 | 240 | 55680
19 | II5I501005 | ACSR Panther Comprension Type Single Tension fitting | No. | 4534.33 | 14 | 63480.62
20 | II3I303004 | Vibration damper For panther conductor | No. | 1129.3 | 5 | 5646.5
21 |  | 33KV Isolator Jaw (Repairable) | No. | 100 | 3 | 300
22 | VV3V05005 | 33KV C.T. 800/400/1Amp (O/D) | No. | 32005 | 1 | 32005
23 |  | 132KV C.B. Clamp for single Zebra cond, | No. | 1426.5 | 2 | 2853
24 |  | 132KV C.T. Clamp for single Zebra cond, | No. | 1470.25 | 0 | 0
25 | SS5S501015 | 132 KV Isolator Clamp | No. | 1470.25 | 0 | 0
26 | II3I301004 | Mid-Span Joint for Panther to Panther Cond. | No. | 1935.33 | 3 | 5805.99
27 | II3I302004 | Repair Sleeve for Panther Cond. | No. | 851.25 | 3 | 2553.75
28 | II0I001007 | Disc insulator 70 KN | No. | 300 | 9 | 2700
29 | II0I001003 | Disc insulator 120 KN | No. | 850 | 26 | 22100
30 | TT1T101029 | Log sheet | No. | 974.68 | 2 | 1949.36
31 | TT1T101022 | Daily Supply Position Register | No. | 587.6 | 2 | 1175.2
32 | TT1T101044 | Stoppage Report Register | No. | 587.6 | 3 | 1762.8
33 | GG0G001001 | Petroleum jelly | Kg | 580.6 | 4 | 2322.4
34 |  | Groumets | Pack | 624.26 | 1 | 624.26
35 | LL0L003004 | HPSV Lamp 250 Watt | No. | 980.58 | 0 | 0
36 | LL0L002004 | HPSV Choke 250 Watt | No. | 2944 | 0 | 0
37 |  | M.C.B. 2 Amp 4 Pole | No. | 1941 | 2 | 3882
38 | SS7S704004 | MCB 10 AMP 2 Pole | No. | 578.2 | 0 | 0
39 | CC3C317006 | H.T. Tape | No. | 731.5 | 4 | 2926
40 |  | Appoxy spray | No. | 1962.33 | 0 | 0
41 |  | Copperbond | No. | 1174.1 | 1 | 1174.1
42 | SS6S610008 | HRC Fuse 63 Amp | No. | 354 | 2 | 708
43 | SS6S610010 | HRC Fuse 32 Amp | No. | 118 | 4 | 472
44 | SS6S610013 | HRC Fuse 25 Amp | No. | 100.3 | 2 | 200.6
45 | SS6S610020 | HRC Fuse 10 Amp | No. | 100.3 | 4 | 401.2
46 | SS6S610022 | HRC Fuse 6 Amp | No. | 82.6 | 2 | 165.2
47 |  | D.W.P. Heating Element | No. | 932.2 | 0 | 0
48 | YY0Y003011 | Battery Hydrometer | No. | 415.36 | 0 | 0
49 |  | T/F Cooling Fan (O/U) | No. | 1000 | 1 | 1000
50 |  | 33 KV Lighting Arrester | No. | 19588 | 0 | 0
51 |  | Slide plate for ABB Switchgear(Indoor) | No. | 1961 | 3 | 5883
52 | KK0K005001 | 33 KV Lighting Arrester(New) | No. | 19411 | 1 | 19411
53 |  | T/F(IMP) LV Bushing Clamp | No. | 5888 | 1 | 5888
54 | SS4S402001 | 33KV Isolator Jaw | No. | 5815 | 0 | 0
55 |  | 33 KV Terminal Connector for T/F LV Bushing Clamp (Alu. Alloy) | No. | 1961 | 1 | 1961
56
57 |  | ACSR Panther Single Suspension Fitting | No. | 2912 | 2 | 5824
58 |  | 33 KV Isolator Clamp for Twin Zebra Conductor | No. | 1956.33 | 1 | 1956.33
59 |  | Floresent Lamp 40 Watt | No. | 59 | 0 | 0
60 |  | 33KV Isolator blade Repairable(O/D) | No. | 344 | 1 | 344
61 |  | 33 KV C.B. Clamp for Twin Zebra Cond. | No. | 1962.33 | 2 | 3924.66
62 | TT1T101034 | Energy A/C Register | No. | 736.02 | 1 | 736.02
63 |  | Max.-Min. Register | No. | 736.02 | 1 | 736.02
64 |  | G.I. Earthwire Fitting For 7/9 S.W/G | No. | 1700.23 | 6 | 10201.38
65 |  | Extension Link for E/W Clamp | No. | 340.5 | 10 | 3405
66 |  | Silica gel | Kg. | 391.2 | 3 | 1173.6
67 |  | Battery Terminal Coating Spray | No. | 1470.28 | 0 | 0
68 |  | 33 KV C.B. Limit Switch Base | Pcs | 735.12 | 5 | 3675.6
69 |  | TCS Relay (Damaged) | No. | 25 |  |  | 1 | 25
70 | II0I009001 | PG clamp for Conductor | No. | 59 |  |  |  |  | 39 | 2301
71 | CC3C316005 | GI cable Tray150mm | Mtr | 221.33 |  |  |  |  | 55 | 12173.15
72 |  | U- Bolt | No. | 50 |  |  |  |  | 18 | 900
73 |  | Enargy Meter make Secure (R-Back)(O/U) | No. | 100 | [6 empty] | 11 | 1100
74 |  | Energy meters L&T make (O/U) | No. | 2000 | [6 empty] | 14 | 28000
75 |  | Energy meters L&T make (R-Back)(O/U) | No. | 100 | [6 empty] | 2 | 200
76 |  | Copper Alloy Scrap(33 KV Iso.Blade Copper Tube) | Kg. | 159 | [8 empty] | 4.2 | 667.8
77 |  | Disc insulator 120 KN(Damaged) | No. | 5 | [8 empty] | 18 | 90
78 |  | Disc insulator 70 KN(Damaged) | No. | 5 | [8 empty] | 14 | 70
79 |  | PVC Scrap(Breather) | Kg | 7 | [8 empty] | 0.75 | 5.25
80 | VV2V204008 | Empty T/F oil Drum 45 gallon capacity as Scrap | No. | 150 | [8 empty] | 157 | 23550
81 |  | MS Iron Scrap [T/F Cooling Fan (Damaged)] | Kg. | 20 | [8 empty] | 10 | 200
82 |  | Brass alloy Scrap ( T/F LV Bushing Clamp) | Kg. | 150 | [8 empty] | 7.15 | 1072.5
83 |  | Aluminium Scrap | Kg. | 50 | [8 empty] | 1.9 | 95
84 |  | Earth Wire Scrap | Kg. | 20 | [8 empty] | 338 | 6760
|  |  |  | Total |  | 857150.3652 |  | 25 |  | 15374.15 |  | 29300 |  | 32510.55
|  |  |  | G.Total | 934360.0652