## December2021
COMPILE INVENTORY OF 220 KV CHAMBA DIV. FOR THE MONTH OF DECEMBER 2021
220 KV SUBSTATION, CHAMBA T.G.
Inventory Report for the month of : December- 2021
Name of Store Incharge- Manoj Chauhan JE
Name of the Zone : Garhwal
Name of Circle- 400kV O&M Circle Srinagar G.
Name of the Division : 220kV O&M Division Chamba T.G.
S. No. | Item Code | Description of Items | Unit | Rate | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs. | Qty | Total Amount in Rs.
Scrap list Survey on dated 6/08/2018
1 | MM2M203020 | Analog Amp meter (old & used) 0-125 Amp CTR 200/1 Amp. | No | 800 |  | 0 | [6 empty] | 2 | 1600
2 | MM2M203021 | Analog Amp meter (old & used) 0-125 Amp CTR 100/1 Amp. | No | 800 |  | 0 | [6 empty] | 6 | 4800
3 | MM2M203022 | Analog Amp meter (old & used) 0-100 Amp, CTR 75/1 Amp | No | 800 |  | 0 | [6 empty] | 1 | 800
4 | MM2M203023 | Analog Amp meter (old & used) 0-500 Amp, CTR 400/1 Amp | No | 800 |  | 0 | [6 empty] | 1 | 800
5 | MM2M202017 | Analog Volt meter (old & used) 0-300 KV, PTR 220 KV/ 63.5 V | No | 900 |  | 0 | [6 empty] | 1 | 900
6 | MM2M202017 | Analog Volt meter (old & used) 0-300 KV, PTR 220 KV/ 110 V | No | 900 |  | 0 | [6 empty] | 1 | 900
7 | MM3M302013 | Analog Volt meter (old & used) 0-40 KV, PTR 33 KV/ 110 V | No | 900 |  | 0 | [6 empty] | 1 | 900
8 | M204 | Analog MW meter (old & used) 0-160 MW,CTR 400/1 Amp, PTR 220 KV/110V | No | 1000 |  | 0 | [6 empty] | 1 | 1000
9 | M204 | Analog MW meter (old & used) 0-30 MW, CTR 500/1 Amp, PTR 220 KV/110V | No | 1000 |  | 0 | [6 empty] | 1 | 1000
10 | M305 | Analog MVAR meter (old & used) CTR 400/1 Amp, PTR 220 KV/110 V | No | 1000 |  | 0 | [6 empty] | 1 | 1000
11 | M305 | Analog MVAR meter (old & used), 0-25, CTR 500/1 Amp, PTR 33 KV/110 V | No | 1000 |  | 0 | [6 empty] | 1 | 1000
12 | M305 | Analog MVAR meter (AE) make 30-0-30 MVAR,75/1 Amp,220KV/110V. (old & used) | No | 1500 |  | 0 | [6 empty] | 1 | 1500
13 | M204 | Analog MW meter (AE) make 30-0-30 MW, 75/1Amp, 220KV/110V. (old & used) | No | 1500 |  | 0 | [6 empty] | 1 | 1500
14 | MM2M203018 | Analog Amp. Meter (AE) make 0-75 Amp, 75/1 Amp, (old & used) | No | 1200 |  | 0 | [6 empty] | 1 | 1200
15 | MM2M203010 | Analog Amp. Meter (AE) make 0-500 Amp, 500/1 Amp, (old & used) | No | 1200 |  | 0 | [6 empty] | 1 | 1200
16 | M204 | MW meter (old &used) | No | 50 |  | 0 | [6 empty] | 1 | 50
17 | MM2M202017 | kV meter (old &used) | No | 50 |  | 0 | [6 empty] | 1 | 50
18 | M305 | Mvar meter (old &used) | No | 50 |  | 0 | [6 empty] | 1 | 50
19 | PP1P126016 | Energy meter L&T make (Defective) | No | 1000 |  | 0 | [6 empty] | 2 | 2000
20 | PP1P126016 | Energy meter Secure make (Defective) | No | 525 |  | 0 | [6 empty] | 5 | 2625
21 | PP1P126016 | 33 KV TVM L&T (Defective) | No | 500 |  | 0 | [6 empty] | 1 | 500
22 | PP1P126016 | KWH metere old & used (scrap) | No | 10 |  | 0 | [6 empty] | 10 | 100
23 | MM0M007003 | Buchholz relay main tank (old & used/defective) | No | 500 |  | 0 | [6 empty] | 1 | 500
24 | MM0M007003 | Buchholz relay OLTC tank (old & used/defective) | No | 400 |  | 0 | [6 empty] | 1 | 400
25 | JJ0J002004 | 220 KV MOCB BHEL make as scrap (incomplete) | No | 5000 |  | 0 | [6 empty] | 3 | 15000
26 | JJ0J002004 | 220 KV MOCB BHEL make (old & used) w/o Structure(obsolete) | No | 17000 |  | 0 | [6 empty] | 1 | 17000
27 | JJ0J005009 | 33 KV MOCB BHEL (old &used) incomplete | No | 15000 |  | 0 | [6 empty] | 4 | 60000
28 | JJ7J703004 | Nylone Tube with sewalik & ring 220 KV Breaker (damaged) | No | 200 |  | 0 | [6 empty] | 1 | 200
29 |  | Limit switch for 33 KV MOCB (obsolete) | No | 40 |  | 0 | [6 empty] | 14 | 560
30 |  | Extuinguishing chamber for MOCB (obsolete) | No | 1500 |  | 0 | [6 empty] | 2 | 3000
31 | JJ7J710026 | Ratched wheel of 220 KV circuit breaker(obsolete) | No | 400 |  | 0 | [6 empty] | 6 | 2400
32 | JJ5J502028 | Spills for 33 KV MOCB(obsolete) | No | 20 |  | 0 | [6 empty] | 2 | 40
33 |  | Gear wheel 4529-2007-002(obsolete) | No | 1500 |  | 0 | [6 empty] | 4 | 6000
34 | JJ7J710032 | Motor pinion(obsolete) | No | 100 |  | 0 | [6 empty] | 1 | 100
35 | JJ7J710033 | Crank with bearing(obsolete) | No | 10 |  | 0 | [6 empty] | 2 | 20
36 | JJ7J710022 | Spril for fixed archery contact(obsolete) | No | 30 |  | 0 | [6 empty] | 3 | 90
37 | JJ7J710023 | Air puffers(obsolete) | No | 10 |  | 0 | [6 empty] | 4 | 40
38 | JJ7J710027 | Duct plate(obsolete) | No | 150 |  | 0 | [6 empty] | 5 | 750
39 |  | Isolated drop link for 33 KV MOCB (obsolete) | No | 200 |  | 0 | [6 empty] | 4 | 800
40 | JJ6J601046 | Rasin coated spout insulated(obsolete) | No | 100 |  | 0 | [6 empty] | 2 | 200
41 | JJ7J710037 | Rasin coated insulated rod(obsolete) | No | 750 |  | 0 | [6 empty] | 2 | 1500
42 |  | Rasin coated insulated contact(obsolete) | No | 750 |  | 0 | [6 empty] | 2 | 1500
43 | JJ5J502050 | Guide block assembly | No | 200 |  | 0 | [6 empty] | 2 | 400
44 |  | Mechanism for 33 KV MOCB(old/used & scrap) | No | 1000 |  | 0 | [6 empty] | 1 | 1000
45 | JJ5J502012 | moving contact damaged | No | 100 |  | 0 | [6 empty] | 6 | 600
46 | JJ5J503005 | Spring Charging Motor for 36 KV VCB (burnt) | No | 1500 |  | 0 | [6 empty] | 1 | 1500
47 | JJ0J005010 | 36 KV, 1250 Amp VCB BHEL make (damaged) | No | 150000 |  | 0 | [6 empty] | 1 | 150000
48 | JJ5J503011 | 36 KV VCB Pole BHEL make (Defective) | No | 2000 |  | 0 | [6 empty] | 2 | 4000
49 | VV3V302004 | 245 KV CT 800/400/200/1 Amp, HBB Make (Old & Used) | No | 6000 |  | 0 | [6 empty] | 6 | 36000
50 |  | 245 KV CT 800/300/1 Amp ( broken) | No | 1000 |  | 0 | [6 empty] | 1 | 1000
51 | VV4V305013 | 33 KV CT 200/100/1 Amp damaged | No | 2000 |  | 0 | [6 empty] | 2 | 4000
52 | VV3V305008 | 33 KV CT 400/200/1 Amp. (Damaged) | No | 1000 |  | 0 | [6 empty] | 2 | 2000
53 | VV4V305013 | 33 KV CT 200/100/1 Amp defective (old & used ) | No | 50 |  | 0 | [6 empty] | 7 | 350
54 |  | 33 KV CT 100/50/1Amp defective | No | 40 |  | 0 | [6 empty] | 2 | 80
55 |  | Old & used (damaged) 33 KV CT. | No | 100 |  | 0 | [6 empty] | 3 | 300
56 | VV6V507002 | 220 KV CVT BHEL make old & used | No | 5000 |  | 0 | [6 empty] | 1 | 5000
57 | VV6V507002 | 220 KV CVT W.S. Insulators make (old & used) | No | 5000 |  | 0 | [6 empty] | 3 | 15000
58 |  | Round pole old & damaged (incomplete) | No | 50 |  | 0 | [6 empty] | 7 | 350
59 |  | LT pole incomplete | No | 1500 |  | 0 | [6 empty] | 13 | 19500
60 | YY0Y003005 | Battery cells (old & used) defective | No | 100 |  | 0 | [6 empty] | 204 | 20400
61 |  | Plastic compound (unusable) | Kg | 200 |  | 0 | [6 empty] | 13 | 2600
62 | CC3C317006 | Empire tape (unusable) | No | 50 |  | 0 | [6 empty] | 82 | 4100
63 |  | Aluminium scrap | Kg | 54.8 |  | 0 | [6 empty] | 0 | 0
64 | P125 | Hose pipe damaged | No | 2 |  | 0 | [6 empty] | 1 | 2
65 |  | 11 KV GEC make bushing (damaged) | No | 10 |  | 0 | [6 empty] | 2 | 20
66 |  | DC Buzzer 110 Volt (Defective) | No | 50 |  | 0 | [6 empty] | 1 | 50
67 | VV2V204007 | Transformer Oil Drum | No. | 181.22 |  | 0 | [6 empty] | 113 | 20477.86
Scrap list Survey on dated 27/11/2020 | [12 empty] | Total | 424304.86
68 | JJ5J503011 | 36 KV VCB Pole BHEL make (Damaged and unserviceble) | No | 2000 |  | 0 | [6 empty] | 1 | 2000
69 |  | Instantanoeus overcurrent relay type CAG (old &used Scrap) | No | 200 |  | 0 | [6 empty] | 1 | 200
70 | MM0M004008 | Overcurrent relay (inverse) type CDG (old & used Scrap) | No | 200 |  | 0 | [6 empty] | 2 | 400
71 | MM0M010001 | Auxillary relay type VAA (old &used Scrap) | No | 200 |  | 0 | [6 empty] | 3 | 600
72 | MM0M004008 | Earth fault relay (inverse) type CDG(old & used Scrap) | No | 200 |  | 0 | [6 empty] | 2 | 400
73 | MM0M004008 | Overcurrent relay (inverse) type CDG(old & used Scrap) | No | 200 |  | 0 | [6 empty] | 1 | 200
74 | VV3V302001 | 220kV CT ABB make old and damaged | No | 2000 |  | 0 | [6 empty] | 1 | 2000
75 |  | 220 KV Current transformer Ratio 300-150-1-1-1 Batleau make old and damaged | No | 2000 |  | 0 | [6 empty] | 1 | 2000
76 |  | 220kV old and damaged CT | No | 2000 |  | 0 | [6 empty] | 4 | 8000
77 | VV0V006002 | 250KVA 33/.433kV transformer Damaged | No | 20000 |  | 0 | [6 empty] | 1 | 20000
78 |  | 245kV Disconnector Arm (old, used & burnt) | No | 200 |  | 0 | [6 empty] | 2 | 400
79 | VV6V507002 | 220kV CVT (Damaged) | No | 2000 |  | 0 | [6 empty] | 1 | 2000
80 | JJ5J503029 | 33kV BHEL make VCB mechanism old & Damaged without pole Incomplete | No | 500 |  | 0 | [6 empty] | 1 | 500
81 | JJ2J201010 | 220kV old & damaged CB pole | No | 500 |  | 0 | [6 empty] | 1 | 500
82 | VV6V507002 | 220kV CVT (Damaged) | No | 2000 |  | 0 | [6 empty] | 3 | 6000
83 | VV6V505002 | 33kV PT Damaged | No | 500 |  | 0 | [6 empty] | 1 | 500
[13 empty] | Total | 45700
84 | VV1V101022 | HT Bushing for 25 MVA T/F-I (220/33 KV) | No | 100000 | 0 | 0 |  |  |  |  | 1 | 100000
85 | VV1V101022 | HT Bushing for 25 MVA T/F-II (220/33 KV) | No | 150000 | 1 | 150000
86 |  | 250 KVA T/F Bushing rod | No | 1250 | 3 | 3750
87 | VV3V305009 | 36 KV CT 400/200/1 Amp | No | 8428.6 | 3 | 25285.8
88 |  | 33 KV CT 500/1Amp | No | 18500 | 3 | 55500
89 | AA0A002004 | ACSR panther conductor | Mtr | 90 | 240 | 21600
90 |  | ADD ON block | No | 250 | 5 | 1250
91 |  | Contactor TC Make 110 Volt | No | 800 | 3 | 2400
92 | NN4N407001 | Time Delay Block | No | 250 | 1 | 250
93 | P502 | Empty nytrogen cylinder | No | 3500 | 1 | 3500
94 | FF2F206002 | Fabricated fish plate 125x125x12 mm | No | 170 | 8 | 1360
95 |  | 245 KV Post insulator (solid core) | No | 15768 | 7 | 110376
96 |  | Sleeper cut piece wooden | No | 20 | 11 | 220
97 | FF0F050017 | GI Structure CBT make | No | 13500 | 1 | 13500
98 |  | ST Pole | No | 700 | 1 | 700
99 | YY1Y108035 | Contactor TC Make 24 Volt DC | No | 850 | 6 | 5100
100 |  | RS Joist | No | 500 | 1 | 500
101 | VV1V101023 | 33 KV porcelene Bushing LV Side 25 MVA T/F-II (220/33 KV) | No | 50000 | 1 | 50000
102 | VV2V206001 | Oil Temp. Indicator | No | 10000 | 1 | 10000
103 | VV2V207001 | Winding Temp. Indicator | No | 10000 | 1 | 10000
104 | F107 | Anchor bolt | No | 10 | 2 | 20
105 | VV6V601004 | 33 KV PT junction box | No | 2500 | 1 | 2500
106 | FF2F202003 | MS flate 50x6 mm | MT | 36400 | 0.15 | 5460
107 | II5I501009 | Bolted type tension fitting for 7/9 swg E/W | No | 200 | 5 | 1000
108 | PP2P224002 | Telephone set | No | 300 | 1 | 300
109 | PP2P224002 | Hand telephone set | No | 200 | 2 | 400
110 |  | Evax type mdx-50 with 16-subscriber | No | 253344 | 1 | 253344
111 | FF2F207001 | MS welded mesh 14 SWG 1/4" | Mtr | 75 | 24 | 1800
112 |  | E/W clamp SP-55 | No | 25 | 73 | 1825
113 | FF2F201005 | MS Round 32 mm dia | Kg | 15 | 1035 | 15525
114 | JJ7J701015 | Auxilary switch 10 NO & 10NC 6NBB contact | No | 170 | 6 | 1020
115 | MM0M009005 | Trip ckt supervision relay | No | 550 | 4 | 2200
116 |  | Seemless copper pipe 22x19mm dia | Mtr | 1000 | 20 | 20000
117 | JJ7J707001 | SF-6 Gas | Kg | 1428 | 9 | 12852
118 | JJ7J707004 | SF-6 Gas cylinder (empty) 9Kg capacity | No | 300 | 1 | 300
119 | PP1P126016 | Energy meter L&T make (old & used) | No | 3000 | 8 | 24000
120 | TT1T101034 | Quarterly maintenance register of Transformer | No | 104.01 | 4 | 416.04
121 | TT1T101036 | Quarterly maintenance register of 220KV Bays | No | 104.01 | 3 | 312.03
122 | TT1T101037 | Annual maintenance register of 220KV Bays | No | 225.68 | 1 | 225.68
123 | TT1T101038 | Quarterly maintenance register of 33KV Bays | No | 225.68 | 2 | 451.36
124 | TT1T101041 | Plant history register | No | 225.68 | 1 | 225.68
125 | TT1T101040 | Message register | No | 225.68 | 4 | 902.72
126 | TT1T101042 | Rostering programme register | No | 225.68 | 1 | 225.68
127 | TT1T101026 | Instruction register | No | 225.68 | 1 | 225.68
128 | TT1T101017 | Authorization register | No | 225.68 | 1 | 225.68
129 | TT1T101027 | Inspection register | No | 225.68 | 1 | 225.68
130 | TT1T101023 | Defect register | No | 225.68 | 2 | 451.36
131 | TT1T101046 | Testing register | No | 225.68 | 1 | 225.68
132 | TT1T101020 | Carrier fault register | No | 225.68 | 1 | 225.68
133 | TT1T101028 | LA Surge counter reading register | No | 104.01 | 2 | 208.02
134 | TT1T101049 | Trunk call register | No | 104 | 1 | 104
135 | TT1T101021 | Compressor reading register | No | 166.4 | 3 | 499.2
136 |  | Tyre truck (old & used) damaged | No | 5 | 0 | 0 | [6 empty] | 5 | 25
137 |  | Aluminium scrap | Kg | 54.8 | 0 | 0 | [6 empty] | 40 | 2192
138 | VV4V307001 | Ring type double core CT 400/200/5Amp. | No | 2700 | 0 | 0 |  |  | 2 | 5400
139 |  | 11 KV CT 600/300/1 Amp | No | 5000 | 0 | 0 |  |  | 2 | 10000
140 | VV4V306001 | 11 KV CT 200/1 Amp | No | 1900 | 0 | 0 |  |  | 3 | 5700
141 | VV4V305013 | 33 KV CT 200/100/1Amp | No | 5000 | 2 | 10000
142 | VV4V305014 | 33 KV CT 200/1Amp | No | 5000 | 1 | 5000
143 | YY1Y102002 | Battery charger 110 V/300 Ah (old & used) | No | 35000 | 1 | 35000
144 | SS0S002001 | 220 KV Bus-Isolator (Old & Used) | No | 50000 | 1 | 50000
145 |  | Structure for 220 KV isolator (old & used) | No | 20000 | 1 | 20000
146 | FF0F050025 | PN Structure (old & used) | No | 3000 | 6 | 18000
147 | PP1P126016 | TVM 3-Phase 4-wire 63.5x3(-/110V) | No | 11357 | 7 | 79499
148 | MM0M001007 | Distance protection relay Type YTG (old & used). | No | 2000 | 2 | 4000
149 | MM0M007013 | Neutral Imped. Replica Type YTG-31 (old & used). | No | 500 | 1 | 500
150 | MM0M019004 | Power swing blocking relay Type-YTG (old & used). | No | 500 | 1 | 500
151 | MM0M005006 | Instant earth fault relay Type-CAG (old & used). | No | 500 | 1 | 500
152 | MM0M010001 | Auxiliary relay Type-VAA (old & used). | No | 500 | 1 | 500
153 | MM0M016001 | Definite time relay Type - VTT (old & used). | No | 500 | 1 | 500
154 | SS0S005001 | 33 KV Isolator (old & used) | No | 5000 | 1 | 5000
155 |  | 36 KV CT having ratio 600-300/1 Amp. | No | 21438 | 3 | 64314
156 | CC2C201003 | H.F.Cable | Mtr | 250 | 370 | 92500
157 | SS6S611009 | Fuse NS Type 2 Amp. | No | 69.8 | 6 | 418.8
158 | TT1T102006 | Work Permit Book | No | 207.9 | 4 | 831.6
159 |  | ACSR Deer Conductor (old & used) in bits | Mtr | 95 | 16 | 1520
160 | PP1P126016 | TVM 3-Phase 4-wire 63.5x3(-/110V) (old & used) | No | 4500 | 1 | 4500
161 | PP1P126016 | Energy meter Secure make (old & used) | No | 4900 | 12 | 58800
162 | II5I501005 | Bolted type tension fitting for panther cond. | No | 2619.75 | 2 | 5239.5
163 | SS6S611009 | Fuse NS Type 2 Amp. | No | 68.25 | 3 | 204.75
164 | SS6S611008 | Fuse NS Type 4 Amp. | No | 89.25 | 5 | 446.25
165 | SS6S611006 | Fuse NS Type 6 Amp. | No | 102.9 | 3 | 308.7
166 | CC0C001020 | 1.1KV 2x2.5sqmm. FRLS control cable. | Mtr | 69.866 | 500 | 34933
167 | II0I001007 | 70 KN Disk Insulator. | No | 421.71 | 25 | 10542.75
168 |  | Overhead Shield wire | Mtr | 51.05 | 34 | 1735.7
169 | FF1F101068 | GI Nuts & Bolts. | Kg | 90.42 | 81 | 7324.02
170 | JJ2J201003 | Closing Coil 220VDC,Old | No | 1900 | 0 | 0 |  |  | 3 | 5700
171 | JJ2J201001 | Tripping Coil 220VDC,Old | No | 2000 | 0 | 0 |  |  | 3 | 6000
172 | JJ7J701027 | Contactor 220VDC, 25A,Old | No | 2000 | 0 | 0 |  |  | 3 | 6000
173 | JJ7J701028 | Contactor 220VDC, 10A,Old | No | 1600 | 0 | 0 |  |  | 7 | 11200
174 | NN4N403001 | LED indication red | No | 406.98 | 10 | 4069.8
175 | NN4N403006 | LED indication white | No | 406.98 | 4 | 1627.92
176 | NN4N403003 | LED indication green | No | 406.98 | 10 | 4069.8
177 |  | PD timer 220V DC old & used. | No | 2000 | 0 | 0 |  |  | 1 | 2000
178 | MM3M303006 | Digital Ampere meter CTR 500/1,Accuracy class 0.5 | No | 3606.75 | 4 | 14427
179 | MM3M303007 | Digital Ampere meter CTR 400/1,Accuracy class 0.5 | No | 3606.75 | 6 | 21640.5
180 | MM3M303009 | Digital Ampere meter CTR 200/1,Accuracy class 0.5 | No | 3377.75 | 4 | 13511
181 | MM3M303010 | Digital Ampere meter CTR 100/1,Accuracy class 0.5 | No | 3377.75 | 3 | 10133.25
182 | MM2M205004 | Digital MVAR meter, CTR 800/1,PTR 220kV/110V, Accuracy class 0.5 | No | 9217.25 | 1 | 9217.25
183 | JJ7J707001 | Sf-6 gas | Kg | 1825.13 | 12 | 21901.56
184 | MM0M010001 | Auxillary relay type VAA (old &used) | No | 200 | 3 | 600
185 | VV3V305003 | 33kV CT of ratio 1000/1 Amp | No | 49490 | 1 | 49490
186 | VV2V204001 | Transformer oil (fresh) drum each 209 Ltr. | Ltr | 54.089 | 836 | 45218.404
187 | CC0C001013 | Control cable 6Cx2.5sqmm | Mtr | 10 | 150 | 1500
188 | CC0C001009 | Control cable 10Cx2.5sqmm | Mtr | 12 | 150 | 1800
189 |  | Numerical relay Alstom make old & used | No | 500 | 1 | 500
190 | VV6V505002 | 36kV Potential transformer | No | 38044 | 2 | 76088
191 | VV6V505002 | 33kV PT(old & used) | No | 500 | 3 | 1500
192 | KK0K002001 | 220kV LA (old & used) | No | 1000 | 1 | 1000
193 | AA0A002003 | ACSR Zebra Conductor (old used & Damaged) in bits | Mtr | 25 | 300 | 7500
194 | SS0S002001 | 220 KV S&S make channel type Isolator w/o jaw & blade incomplete (old & used) | No | 5000 | 1 | 5000
195 | SS0S002001 | 220kV S&S make pipe type Isolator w/o jaw & blade (burnt) | No | 1000 | 1 | 1000
196 | II1I104001 | C-Wedgw Connector ACSR ZEBRA-ZEBRA | No | 4050 | 5 | 20250
197 | II1I104002 | C-Wedgw Connector ACSR ZEBRA-PANTHER | No | 3920 | 8 | 31360
198 | II1I104003 | C-Wedgw Connector ACSR PANTHER-PANTHER | No | 3910 | 12 | 46920
199 | VV2V205001 | Transformer Online Leak Repair Kit | Set | 24750 | 1 | 24750
200 | KK0K005001 | 33kV Lighting Arrester | No | 16400 | 5 | 82000
201 | FF1F101068 | GI Nut bolts | No | 12 | 330 | 3960
202 | II4I405003 | spacer cum dropper clamp for twin zebra bus to single zebra dropper | No | 1780 | 6 | 10680
203 | II4I405003 | spacer cum dropper clamp for twin zebra bus to single panther dropper | No | 1780 | 4 | 7120
204 | VV1V103046 | 33kV CT clamp for twin zebra conductor | No | 1780 | 9 | 16020
205 | JJ8J801005 | 33kV VCB clamp for twin zebra conductor | No | 2150 | 5 | 10750
206 | SS5S501014 | 33kV isolator clamp for twin zebra conductor | No | 2450 | 4 | 9800
207 | II5I502004 | Bolted type tension fitting for twin zebra conductor | No | 3050 | 4 | 12200
208 | II5I501004 | Bolted type tension fitting for single zebra conductor | No | 3050 | 1 | 3050
209 |  | Nitrogen Cylinder | No | 0 | 1 | 0
210 | P125 | Hose Pipe for Nitrogen | Set | 0 | 1 | 0
211 |  | Head Detectors | No | 0 | 3 | 0
212 | PP1P122007 | Regulator Assembly | No | 0 | 1 | 0
213 | VV3V302001 | 245kV CT 1600/800A | No | 134328 | 1 | 134328
214 | VV2V204001 | EHV Grade Transformer Oil | Ltr | 73.4786 | 418 | 30714.06
215 | JJ2J201014 | Spring Charging motor for 220kV CGL make Sf-6 circuit breaker | No | 29488.2 | 1 | 29488.2
216 | SS6S604001 | 110V DC operated contactor schneider cad-32 | No | 10608.2 | 2 | 21216.4
217 | SS4S402020 | 33kV Bus Post Insulator | No | 3233.2 | 23 | 74363.6
218 | MM3M303004 | Digital Ampere Meter 800/1A | No | 7670 | 2 | 15340
219 | MM3M304004 | Digital MW Meter 800/1A, 220kV/110V | No | 7493 | 1 | 7493
220 | MM2M205004 | Digital MVAr Meter 800/1A, 220kV/110V | No | 7493 | 1 | 7493
221 | MM3M303003 | Digital Ampere Meter 0.5 to 5000/5A | No | 7493 | 1 | 7493
222 | MM3M304004 | Digital MW Meter 800/1A, 220kV/110V | No | 7493 | 1 | 7493
223 | MM2M205004 | Digital MVAr Meter 800/1A, 220kV/110V | No | 7493 | 1 | 7493
224 | MM2M202005 | Digital Voltmeter PTR 220kV/110V | No | 7670 | 1 | 7670
225 | SS6S606004 | Siemens Contactor 3TF30 10-0A | No | 8496 | 1 | 8496
226 | MM0M019028 | Siemens Thermal Overload Relay 3UA50 | No | 8496 | 1 | 8496
227 | AA0A002003 | ACSR Zebra Conductor | Km | 264500 | 0.1 | 26450
228 | JJ0J002002 | 220kV Circuit Breaker old & used Incomplete | No | 25000 | 1 | 25000
229 | II0I005002 | PG clamp Zebra to Panther | No | 1121 | 5 | 5605
230 | CC1C103007 | Aluminium LT cable 3.5C | Mtr | 1058.46 | 110 | 116430.6
231 | KK0K002001 | 245kV Lightning arrester | No | 80000 | 1 | 80000
232 |  | 33kV Damaged SF-6 CB Pole | No | 1000 | 0 | 0 | [6 empty] | 3 | 3000
233 |  | 33kV Circuit Breaker (Old & Used) | No | 100000 | 1 | 100000
234 |  | Old & used (damaged) 33 KV CT. | No | 100 | 0 | 0 | [6 empty] | 1 | 100
235 |  | 33kV Circuit Breaker (Old & Used) Incomplete | No | 10000 | 2 | 20000
236 |  | 33kV (old & used) damaged Isolator | No | 1000 | 5 | 5000
237 |  | 33kV Circuit Breaker (Old & Used) Incomplete w/o poles | No. | 8000 | 1 | 8000
238 |  | 33kV CGL make SF-6 circuit breaker along with support structure | No. | 313481 | 1 | 313481
239 |  | Palm Type Isolator Clamp | No. | 831.9 | 7 | 5823.3
240 |  | 33kV Isolator Clamp suitable for panther conductor | No. | 649 | 6 | 3894
241 |  | 33kV Isolator Jaw of copper strip | No. | 2950 | 3 | 8850
242 |  | 245kV SF-6 Circuit Breaker along with all accessories | No. | 1649511 | 1 | 1649511
243 |  | Copper Bond | No. | 1062 | 20 | 21240
244 |  | 36kV CT of ratio 1000/500/1 along with all accessories | No. | 61360 | 3 | 184080
245 |  | 36kV CT of ratio 400/200/1 along with all accessories | No. | 61360 | 3 | 184080
246 |  | 36kV CT of ratio 200/100/1 along with all accessories | No. | 55460 | 3 | 166380
[5 empty] | Sub Total | 5187662.684 |  | 0 |  | 52000 |  | 100000 |  | 475321.86
[5 empty] | Total | 5814984.544
INVENTORY (Stock)
Name of Zone - Garhwal Zone
Name of Circle - O& M Circle Srinagar G
Name of Division- O&M Division Chamba Tehri Garhwal.
Name of Sub Station- 220 KV Sub Station Chamba T.G.
Month - July 2021 | 2021-12-01
Name of Incharge - Shiv Charan Kumar
S.No. | Item Code | Name of item | Unit | Unit Rate in RS. | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs. | Qty. | Total Amount in Rs.
1 | II2I202001 | S/T clamp Suitable for 7/9 SWG E/W | No. | 35 | 10 | 350
2 | PP0P018009 | D Shackle | No. | 20 | 8 | 160
3 |  | Extension Link | No. | 50 | 10 | 500
4 | FF0F042012 | Template 'C' Type (1 set) W/O Nut & Bolt | Mt. | 43115 | 1.087 | 46866.005
5 | II3I301008 | Mid Span compression joint for earth wire size 7/3.66mm | No. | 96.98 | 19 | 1842.62
6 | FF4F43007 | Flexible copper bond | No. | 285.2 | 12 | 3422.4
7 | PP0P017020 | Heavy Duty flexible steel wire rope | mtr. | 50 | 160 | 8000
8 | II5I501004 | Compression Type single tension fitting suitable for ACSR Zebra | No. | 3242 | 16 | 51872
9 | II3I301003 | Mid span compression joint suitable for ACSR Zebra conductor | No. | 1773.8 | 32 | 56761.6
10 | II3I303004 | Vibration damper suitable for ACSR Zebra conductor | No. | 1436 | 108 | 155088
11 | II3I302003 | Repair Sleeve suitable for ACSR Zebra conductor | No. | 369.31 | 67 | 24743.77
12 | II0I005001 | PG clamp Zebra to Zebra | No. | 875.79 | 58 | 50795.82
13 | II0I001007 | Disc insulator 70 KN | No. | 340 | 1 | 340
14 |  | ACSR Zebra conductor Damaged in bits | Mt. | 20000 | 6.883 | 137660
15 | FF0F042005 | Template 220 KV DC 'C' type tower W/O Nut & Bolt( Incomplete) | Mt. | 106500 | 1.242 | 132273
16 | FF0F042013 | Template +6 mtr extension 'C' type tower W/O Nut & Bolt ( Incomplete) | Mt. | 43115 | 1.211 | 52212.265
17 | FF0F042011 | Template +6 Mtr. Extension 'B' type tower W/O Nut & Bolt (incomeplete) | Mt. | 43115 | 1.145 | 49366.675
18 | II5I501009 | Tension fitting compression type for earth wire | No. | 1408.35 | 2 | 2816.7
19 | II3I301003 | Mid span compression joint for ACSR Zebra Conductor | No. | 1997.76 | 3 | 5993.28
20 | FF1F101068 | G.I. nuts & bolt off size ( incomplete) | Kg. | 73 | 0 | 0 | [6 empty] | 7.3 | 532.9
21 |  | ACSR zebra conductor (Old used and dismantled) | Km. | 100000 | 18.406 | 1840600
22 |  | 7/9 SWG E/W (Old used and dismantled) | Km. | 20000 | 5.939 | 118780
23 |  | Disc insulator 160 KN ( Old used and dismantled) | No. | 100 | 881 | 88100
24 |  | Vibration damper for Zebra (Old used and dismantled) | No. | 50 | 154 | 7700
25 |  | Vibration damper for 7/9 SWG E/W ( Old used and dismantled) | No. | 25 | 24 | 600
26 |  | PG clamp Zebra to Zebra (Old used and dismantled) | No. | 50 | 50 | 2500
27 |  | G.I Nut Bolt& Washer (Old used and dismantled) | Kg. | 15 | 1615 | 24225
28 |  | G.I Tower part (Old used and dismantled) | Mt. | 15000 | 38.14 | 572100
29 | II5I501004 | Single tension fitting for single ACSR Zebra Conductor suitable for 160 KN disc insulator | Set. | 9718.83 | 2 | 19437.66
30 | II5I502004 | Double Tension fitting for ACSR Zebra conductor | Set. | 17277.91 | 2 | 34555.82
31 | II5I504004 | Single suspension fitting for ACSR Zebra conductor suitable for 70 KN disc insulator | Set. | 2753.67 | 7 | 19275.69
32 | II5I501009 | Tension fitting for GS Earth wire 7/9 SWG | No. | 2645.68 | 9 | 23811.12
33 | II5I504009 | Suspension fitting for GS Earth wire 7/9 SWG | No. | 2645.68 | 2 | 5291.36
34 | II3I303004 | Vibration damper for Zebra Conductor | No. | 2645.68 | 3 | 7937.04
35 | II3I301008 | Mid span compression joint for GS Earth wire 7/9 SWG | No. | 1565.81 | 4 | 6263.24
36 | II0I001007 | Disc insulator 70 KN | No. | 777.23 | 18 | 13990.14
37 | II3I304003 | Hanger rod suitable for 220 KV D/C A type tower | No. | 701.91 | 22 | 15442.02
38 | FF0F021008 | B+6 type S/C tower, stub (galvanized) ( including nut bolt and washer) | Mt. | 106590.82 | 0.489 | 52122.911
39 |  | MS Joint for Zebra cond. (Steel) | No. | 100 |  | 0 |  |  |  |  | 11 | 1100
40 |  | Scrap for G.I. tower parts, fitting | Kg. | 15 |  | 0 | [6 empty] | 11610.63 | 174159.45
41 |  | ACSR Deer conductor damaged in bits | Km. | 25000 |  | 0 | [6 empty] | 0.09 | 2250
42 |  | G.I tower parts 220 KV C Type S/c Tower( Old used and dismantled) | Mt. | 15000 | 7.5 | 112500
43 | AA0A002003 | ACSR Zebra Conductor. | Km. | 264500 | 17.379 | 4596745.5
44 | AA1A101001 | G.I Earth wire 7/9 SWG(6.64x1)x1.02 | Km. | 49200 | 7.229 | 355666.8
45 | FF0F022007 | Stub B type tower(S/C 220 KV) | Mt. | 116500 | 0.9095 | 105956.75
46 | II3I303004 | Vibration damper for Zebra Conductor | No. | 650 | 30 | 19500
47 | II3I303008 | Vibration damper for GS Earth Wire 7/9 SWG | No. | 450 | 11 | 4950
48 |  | +6 Mtr. Extension of C type tower (Fabricated) | Kg. | 52 | 2415.74 | 125618.48
49 | II0I001001 | Disc insulator 160 KN | No. | 900 | 60 | 54000
50 | FF1F101068 | G.I bolts nuts and washer | mt. | 106500 | 0.55699 | 59319.435
51 | II3I302003 | Repair Sleeve for Zebra conductor | No. | 500 | 3 | 1500
52 | FF1F109005 | G.I washer 16x10 mm | kg. | 95 | 91.16 | 8660.2
53 | FF1F109013 | G.I Spring washer 16x3.5 mm | Kg. | 95 | 11.8 | 1121
54 | FF0F002213 | Super structure tower type'C' with stub & Cleat (Only stub and cleat) | Mt. | 159300 | 1.652 | 263163.6
55 |  | +6 mtr Extension of 220 KV S/C 'C' Type tower (Dismantled) | Mt. | 43000 | 2.408 | 103544
56 |  | 220 KV 'C ' Type tower (old used and dismantled) incomplete | Mt. | 15000 | 8.4 | 126000
57 | II5I501009 | Single Tension fitting for GS Earth wire 7/3.66 mm | No. | 2124 | 1 | 2124
58 | II3I302003 | Repair Sleeves for ACSR Zebra Conductor | No. | 177 | 3 | 531
[5 empty] | 0 | 9574696.901 |  | 0 |  | 0 |  | 1100 |  | 176942.35
END