## Stock jan 2022
Stock Inventory Report for the M/o January 2022
EE, 220 KV O&M Industrial Division , Jhajhra , Dehradun.
Name of Division |  | 132 KV Substation Purkul, Dehradun
Name of Substation |  | AE : Er Shaili Rathi , JE: Ranjan Kumar Negi
Incharge/Section Holder
S.No | Item Code |  | Unit | Unit in Rates | Useable |  | Unserviceable |  | Non-Moving |  | Obsolete |  | Scrap
[5 empty] | Quantity | Total Amount in Rs. | Quantity | Total Amount in Rs. | Quantity | Total Amount in Rs. | Quantity | Total Amount in Rs. | Quantity | Total Amount in Rs.
1 | AA0A002004 | ACSR Panther Conductor (bit) | m | 30 | 47.5 | 1425 |  | 0 |  | 0 |  | 0 |  | 0
2 |  | W pin (For 165 KN Disc Insulator) | No. | 20 | 318 | 6360 |  | 0 |  | 0 |  | 0 |  | 0
3 |  | Stub for A type tower DC dry wet foundation | MT | 25000 | 0.1 | 2500 |  | 0 |  | 0 |  | 0 |  | 0
4 | II0I009001 | PG Clamp for Dog - Dog Conductor scrap | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 10 | 100
5 | II5I507008 | Gun fitting for Dog Conductor Scrap | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 12 | 120
6 | VV3V305010 | 33 KV CT 400/1 Defective | No. | 500 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 500
7 | VV3V305010 | 33 KV CT 400/1 Damaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 200
8 |  | 33 KV PT O&U 33KV/110V | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 2000
9 |  | Voltmeter 132KV110V 0-150KV | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 10
10 |  | MVAR 400/1 132KV/110V -75-0-+75MVAR | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 20
11 |  | Voltmeter 0-500V | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 10
12 |  | Voltmeter 33KV/110V 0-40KV | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 10
13 |  | Voltmeter 132KV/110V 0-150KV | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 20
14 |  | Ameter 200/1 0-500A | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 20
15 |  | Ameter 400- 200/1 250-500A | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 10
16 | MM2M203016 | Ameter 100/1 0-100A | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 10
17 |  | Ameter 100/1 0-125A | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 4 | 40
18 | VV6V505001 | 33KV 3Ø Voltage T/f O&U | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 1000
19 |  | 33KV CT 200-100/1 O&U | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 2000
20 |  | Bushing rod | No. | 50 | 1 | 50 |  | 0 |  | 0 |  | 0 |  | 0
21 | QQ1Q101003 | 2.4 x 80mm Pale rusted | Kg | 8.8889 |  | 0 |  | 0 |  | 0 |  | 0 | 362.25 | 3220
22 |  | 36KV PT 33KV/110V Damaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 100
23 | VV3V305010 | 33KV CT 400/200/1 Damaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 200
24 |  | 33KV CB Mechnism Damaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 100
25 |  | Series reactor 33KV Damaged | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 3 | 3000
26 | AA1A101002 | GI Earthwire scrap 7/10SWG | kg | 20 |  | 0 |  | 0 |  | 0 |  | 0 | 11 | 220
27 |  | Steel Scrap | kg | 25 |  | 0 |  | 0 |  | 0 |  | 0 | 30 | 750
28 |  | Copper Scrap | kg | 200 |  | 0 |  | 0 |  | 0 |  | 0 | 15.15 | 3030
29 | JJ0J005008 | 33KV BOCB Without oil Damaged | No. | 2000 |  | 0 | 2 | 4000 |  | 0 |  | 0 |  | 0
30 |  | 33KV MOCB without mechnism | No. | 1000 | 1 | 1000 |  | 0 |  | 0 |  | 0 |  | 0
31 |  | 33 KV CT 200/100/1A Damaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 200
32 |  | 11KV 1200A CT Demaged | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 6 | 600
33 |  | 11KV / 110 V 3ph PT Deffective | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 100
34 | VV6V507003 | 132 KV CT 100/50/1A Deffective | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 2000
35 |  | 33 KV Single phase PT Scrap | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 100
36 |  | Operating Arm (Iron Metal) | kg | 85.7143 | 7 | 600 |  | 0 |  | 0 |  | 0 |  | 0
37 |  | AC Wattmeter 3ph 3w Damaged | No. | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 10 | 100
38 |  | 33 KV Isolator jaw Damaged (Aluminium) | kg | 96.1538 |  | 0 |  | 0 |  | 0 |  | 0 | 0.52 | 50
39 |  | Contact segment (Copper) | kg | 500 | 1 | 500 |  | 0 |  | 0 |  | 0 |  | 0
40 | VV2V204002 | T/f Oil unserviceable | Lt | 10 |  | 0 |  | 0 |  | 0 |  | 0 | 2025 | 20250
41 |  | Finger Contact (Copper) | No. | 608.1081 | 1.48 | 900 |  | 0 |  | 0 |  | 0 |  | 0
42 |  | Finger Contact tip for BHEL BOCB (Copper) | No. | 1428.57 |  | 0 |  | 0 |  | 0 | 0.63 | 899.9991 |  | 0
43 |  | Polycone Insulator Chipped | No. | 50 | 2 | 100 |  | 0 |  | 0 |  | 0 |  | 0
44 |  | PT Bushing O&U | No. | 100 | 1 | 100 |  | 0 |  | 0 |  | 0 |  | 0
45 |  | 11KV Bus Bar spout 11KV | No. | 50 | 1 | 50 |  | 0 |  | 0 |  | 0 |  | 0
46 |  | Terminal Bushing | No. | 100 | 3 | 300 |  | 0 |  | 0 |  | 0 |  | 0
47 |  | Arc contact pot Assembly(PVC Fibre) | No. | 500 | 3 | 1500 |  | 0 |  | 0 |  | 0 |  | 0
48 |  | Fix contact Damaged (PVC & Copper) | kg | 20000 | 0.06 | 1200 |  | 0 |  | 0 |  | 0 |  | 0
49 |  | Tulip contact 1200 A Damaged | kg | 1666.6666 |  | 0 |  | 0 |  | 0 | 0.9 | 1499.9999 |  | 0
50 |  | Energy meter O&U (secure) | No. | 50 |  | 0 |  | 0 |  | 0 | 1 | 50 |  | 0
51 |  | 33KV CT 200-100/1 O&U | No. | 5000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 10000
52 |  | DCDB 110 V O&U | No. | 75000 | 1 | 75000 |  | 0 |  | 0 |  | 0 |  | 0
53 | VV2V204007 | Empty Drum (T/F oil 209 ltr capacity)(42 No 2020) | No. | 200 | 84 | 16800 |  | 0 |  | 0 |  | 0 |  | 0
54 | II5I501003 | Tension fitting for Deer conductor with out aluminium portion | No. | 3178 | 16 | 50848 |  | 0 |  | 0 |  | 0 |  | 0
55 | II0I001003 | Disc Insulator 120 KN | No. | 500 | 80 | 40000 |  | 0 |  | 0 |  | 0 |  | 0
56 |  | Inverter damage | No. | 1000 | 1 | 1000 |  | 0 |  | 0 |  | 0 |  | 0
57 |  | Mid span joint Zebra | No. | 950 | 9 | 8550 |  | 0 |  | 0 |  | 0 |  | 0
58 | II2I202001 | Bolted type Tension clamp for E/w 7/9 SWG | No. | 948 | 6 | 5688 |  | 0 |  | 0 |  | 0 |  | 0
59 | II2I203001 | Bolted type Suspension clamp for E/w 7/9 SWG | No. | 948 | 10 | 9480 |  | 0 |  | 0 |  | 0 |  | 0
60 | II3I302002 | Compression repair sleeve for Deer conductor | No. | 1237 | 4 | 4948 |  | 0 |  | 0 |  | 0 |  | 0
61 |  | Electronic TVM | No. | 6299 | 1 | 6299 |  | 0 |  | 0 |  | 0 |  | 0
62 |  | Turn Buckle | No. | 10782 | 6 | 64692 |  | 0 |  | 0 |  | 0 |  | 0
63 |  | Channel for Turn Buckle | No. | 7264 | 6 | 43584 |  | 0 |  | 0 |  | 0 |  | 0
64 |  | Earthing lugs | No. | 104 | 275 | 28600 |  | 0 |  | 0 |  | 0 |  | 0
65 |  | Steel wire rope 12 mm | No. | 169 | 400 | 67600 |  | 0 |  | 0 |  | 0 |  | 0
66 | VV3V303001 | 145KV CT 800-400/1 5 core | No. | 103650 | 5 | 518250 |  | 0 |  | 0 |  | 0 |  | 0
67 |  | HF Cable | km | 148680 | 0.3 | 44604 |  | 0 |  | 0 |  | 0 |  | 0
68 |  | Energy meter Secure Damaged | No. | 1000 | 1 | 1000 |  | 0 |  | 0 |  | 0 |  | 0
69 |  | Distance protection Relay O&U YTG 31 | No. | 15000 | 6 | 90000 |  | 0 |  | 0 |  | 0 |  | 0
70 |  | 132 KV CT 400-200-100/1A Damaged | No. | 5000 | 2 | 10000 |  | 0 |  | 0 |  | 0 |  | 0
71 |  | Digital MW meter PTR110V/132 KVA | No. | 9980 | 4 | 39920 |  | 0 |  | 0 |  | 0 |  | 0
72 |  | ACSR Deer Conductor O&U | km | 20000 | 0.058 | 1160 |  | 0 |  | 0 |  | 0 |  | 0
73 |  | RABSD Relay | No. | 100000 | 1 | 100000 |  | 0 |  | 0 |  | 0 |  | 0
74 |  | Come Along Clamp auto 7/9 SWG (damage) | No. | 10759 | 2 | 21518 |  | 0 |  | 0 |  | 0 |  | 0
75 |  | Come Along Clamp auto 7/10 SWG (Damage) | No. | 10759 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 21518
76 |  | 132 KV CT 200-100/1 O&U | No. | 50000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 50000
77 | II4I401001 | D Shackle screw Pin Bow | No. | 566 | 34 | 19244 |  | 0 |  | 0 |  | 0 |  | 0
78 |  | 1200A Double break isolator with out earth switch (Uncomplete) | No. | 52777 | 1 | 52777 |  | 0 |  | 0 |  | 0 |  | 0
79 |  | Contactor with 2NO+2NC Auxi 240VAC 45A, 440VAC 15A | No. | 1873 | 5 | 9365 |  | 0 |  | 0 |  | 0 |  | 0
80 |  | Contactor with 4NO+4NC Auxi 240VAC 45A, 440VAC 15A | No. | 3604 | 6 | 21624 |  | 0 |  | 0 |  | 0 |  | 0
81 |  | Surge counter for lightening Arrester | No. | 10000 | 2 | 20000 |  | 0 |  | 0 |  | 0 |  | 0
82 |  | Neutral Impedence Replica O&U | No. | 100 | 2 | 200 |  | 0 |  | 0 |  | 0 |  | 0
83 | MM0M016002 | Defenite Time Relay O&U | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 200
84 |  | Power swing Blocking Relay O&U | No. | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 200
85 |  | Vacuum Interrupter Bottle (O&U) for 33 KV VCB | No. | 15000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 15000
86 |  | 132KV T/f Contorl & Relay panel (O&U) | No. | 50000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 50000
87 |  | MS Flate 50x6 mm | kg | 45.8 | 60.1 | 2752.58 |  | 0 |  | 0 |  | 0 |  | 0
88 |  | GI Bolt & Nut | kg | 77 | 671.721 | 51722.517 |  | 0 |  | 0 |  | 0 |  | 0
89 |  | 33KV VCB (Damaged) with 2 No. Pole | No. | 7500 | 1 | 7500 |  | 0 |  | 0 |  | 0 |  | 0
90 | VV2V204001 | Transformer oil (regenerate) 200 L in each drum | kl | 55000 | 0.026 | 1430 |  | 0 |  | 0 |  | 0 |  | 0
91 | JJ0J003008 | 132 KV MOCB BHEL (Obsolete) | No. | 10000 | 6 | 60000 |  | 0 |  | 0 |  | 0 |  | 0
92 |  | Coupling Capacitor unit (Obsolete damaged) | No. | 5000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 10000
93 |  | 132 KV CVT Damaged | No. | 2000 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 4000
94 |  | 132 KV LA Damaged/Defective | No. | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 1000
95 | (VV5V406005) | C.T Junction Box | No. | 5561.5 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 5561.5
96 | (VV6V601004) | P.T Junction Box | No. | 5561.5 | 1 | 5561.5 |  | 0 |  | 0 |  | 0 |  | 0
97 |  | Cable Gland 19mm | No. | 54.48 | 7 | 381.36 |  | 0 |  | 0 |  | 0 |  | 0
98 |  | Shaft for Revolving Blade of 132 KV WIGMAN Isolator | No. | 705.97 | 2 | 1411.94 |  | 0 |  | 0 |  | 0 |  | 0
99 |  | Incomplete tower parts A,B,C type tower parts | MT | 40000 | 0.3 | 12000 |  | 0 |  | 0 |  | 0 |  | 0
100 |  | Earth Wire Mid Span Joint for 7/9 SWG E/W | No. | 800.18 | 5 | 4000.9 |  | 0 |  | 0 |  | 0 |  | 0
101 |  | Earth Wire Mid Span Joint for 7/10 SWG E/W | No. | 805.85 | 7 | 5640.95 |  | 0 |  | 0 |  | 0 |  | 0
102 |  | Capcitor cell unit damaged or defective (1No 2019) | No. | 1000 | 13 | 13000 |  | 0 |  | 0 |  | 0 |  | 0
103 |  | 132 KV HIVELM Isolator Jaw | No. | 5448 | 2 | 10896 |  | 0 |  | 0 |  | 0 |  | 0
104 |  | 132 KV WIGMEN Isolator Jaw | No. | 5448 | 3 | 16344 |  | 0 |  | 0 |  | 0 |  | 0
105 |  | 132 KV WIGMEN Isolator male contact | No. | 3745 | 3 | 11235 |  | 0 |  | 0 |  | 0 |  | 0
106 |  | Resistance 4.0 KΩ 35 W | No. | 136.2 | 16 | 2179.2 |  | 0 |  | 0 |  | 0 |  | 0
107 |  | Resistance 1.5 KΩ 35 W | No. | 102.15 | 18 | 1838.7 |  | 0 |  | 0 |  | 0 |  | 0
108 |  | Steel rope 8 mm | m | 60 | 300 | 18000 |  | 0 |  | 0 |  | 0 |  | 0
109 |  | D Shacle screw pin D | No. | 400 | 50 | 20000 |  | 0 |  | 0 |  | 0 |  | 0
110 |  | Mid span joint compression 7/9SWG | No. | 500 | 16 | 8000 |  | 0 |  | 0 |  | 0 |  | 0
111 |  | Mid span joint compression 7/10SWG | No. | 500 | 9 | 4500 |  | 0 |  | 0 |  | 0 |  | 0
112 | II3I306004 | A.I Jumper Cone for Panther | No | 950.34 | 1 | 950.34 |  | 0 |  | 0 |  | 0 |  | 0
113 |  | GI Nut & Bolt 12x50MM | No | 17.03 | 297.5 | 5066.425 |  | 0 |  | 0 |  | 0 |  | 0
114 | JJ0J005010 | 33KV ABB make VCB old and used replaced under P.S.D.F scheme | No | 10000 |  | 0 |  | 0 |  | 0 | 4 | 40000 |  | 0
115 | JJ0J005010 | 33KV Alstom make VCB old and used replaced under P.S.D.F scheme | No | 37000 |  | 0 |  | 0 |  | 0 | 1 | 37000 |  | 0
116 |  | HBC Fuse Link 63A | No | 291.45 | 3 | 874.35 |  | 0 |  | 0 |  | 0 |  | 0
117 |  | N type fuse casing 415V 32A | No | 290.3 | 7 | 2032.1 |  | 0 |  | 0 |  | 0 |  | 0
118 |  | H type fuse casing 415V 63A | No | 363.4375 | 14 | 5088.125 |  | 0 |  | 0 |  | 0 |  | 0
119 | VV1V101040 | HT bushing 12.5MVA T/F 132/33KV Hittachi make | No | 100 | 4 | 400 |  | 0 |  | 0 |  | 0 |  | 0
120 |  | 132KV CT old & Used (obselute) (Replace under PSDF) | No | 1000 | 7 | 7000 |  | 0 |  | 0 |  | 0 |  | 0
121 |  | 132KV CVT(obselute) (Replace under PSDF) | No | 1000 |  | 0 |  | 0 |  | 0 | 2 | 2000 |  | 0
122 | VV6V507003 | Metering Cubical with 300/5A C.T | No | 12541 | 1 | 12541 |  | 0 |  | 0 |  | 0 |  | 0
123 |  | uncomplete 33KV isolator old,Used & damage | Set | 500 | 1 | 500 |  | 0 |  | 0 |  | 0 |  | 0
125 |  | Fuse failure relay (Replace under PSDF) | No | 100 |  | 0 |  | 0 |  | 0 | 2 | 200 |  | 0
126 |  | 4Pole MCB 16Amp | No | 1947 | 1 | 1947 |  | 0 |  | 0 |  | 0 |  | 0
127 |  | Transformer relay Control/relay panel Old used obsulute (Replace under PSDF) | No | 20000 | 3 | 60000 |  | 0 |  | 0 |  | 0 |  | 0
128 |  | Directional over Current relay Old used obsulute (Replace under PSDF) | No | 1000 |  | 0 |  | 0 |  | 0 | 4 | 4000 |  | 0
129 |  | Directional Earth fault relay Old used obsulute (Replace under PSDF) | No | 1000 |  | 0 |  | 0 |  | 0 | 2 | 2000 |  | 0
130 |  | 132KV P.T old used & used obsulete ( Replace under PSDF) | No | 10000 |  | 0 |  | 0 |  | 0 | 2 | 20000 |  | 0
131 |  | 132KV CVT old & used( Replace under PSDF) | No | 50000 | 1 | 50000 |  | 0 |  | 0 |  | 0 |  | 0
132 | VV6V507003 | 16Amp Single pole DC MCB | No | 580.6 | 10 | 5806 |  | 0 |  | 0 |  | 0 |  | 0
133 |  | Aluminium binding strip | Kg | 542.8 | 0.8 | 434.24 |  | 0 |  | 0 |  | 0 |  | 0
134 |  | ACSR Moose Conducter | Mtr | 300 | 126 | 37800 |  | 0 |  | 0 |  | 0 |  | 0
135 |  | O/C & Earth Fault relay JVS Make (old & used) | No | 10000 | 1 | 10000 |  | 0 |  | 0 |  | 0 |  | 0
136 |  | Under Voltage relay JVS Make (old & used) | No | 5000 |  | 0 |  | 0 |  | 0 | 1 | 5000 |  | 0
137 |  | Over Voltage Relay JVS Make (old & used) | No | 5000 |  | 0 |  | 0 |  | 0 | 1 | 5000 |  | 0
138 |  | 132KV central Breaker Isolator (old ,Used & Dismental) | No | 10000 |  | 0 |  | 0 |  | 0 | 1 | 10000 |  | 0
139 |  | 132KV C.T old and used | No | 10000 |  | 0 |  | 0 |  | 0 | 1 | 10000 |  | 0
140 |  | HRC Fuse 2Amp | No | 93.22 | 3 | 279.66 |  | 0 |  | 0 |  | 0 |  | 0
141 |  | HRC Fuse 4Amp | No | 94.4 | 3 | 283.2 |  | 0 |  | 0 |  | 0 |  | 0
142 |  | 415V 4NC contactor | No | 2944 | 1 | 2944 |  | 0 |  | 0 |  | 0 |  | 0
144 |  | 50mm dia. Isolator clamp panther conducter | No | 973.5 | 6 | 5841 |  | 0 |  | 0 |  | 0 |  | 0
145 |  | ACSR conducter old and used,damage (bit Deer) | Mtr | 10 | 58 | 580 |  | 0 |  | 0 |  | 0 |  | 0
146 |  | Petroliunm Jelly | Kg | 581.7 | 4.8 | 2792.16 |  | 0 |  | 0 |  | 0 |  | 0
147 |  | 33KV tipple feeder panel old and used (1No) | No | 20000 | 3 | 60000 |  | 0 |  | 0 |  | 0 |  | 0
148 |  | 132KV post Insulator Clamp | No | 1464.5 | 2 | 2929 |  | 0 |  | 0 |  | 0 |  | 0
149 |  | 33KV P.T (new) Jhajhra | No | 12510.66 | 1 | 12510.66 |  | 0 |  | 0 |  | 0 |  | 0
150 |  | 33KV P.T (Defective recived back from plant) Single Phase outdoor type |  | 500 | 2 | 1000 |  | 0 |  | 0 |  | 0 |  | 0
151 |  | PG clamp for Deer to Deer | No | 961.6667 | 2 | 1923.3333 |  | 0 |  | 0 |  | 0 |  | 0
152 |  | 33KV MOCB (old & Used or defective)without mechnism | No | 1000 | 4 | 4000 |  | 0 |  | 0 |  | 0 |  | 0
153 |  | 33KV MOCB mechnism (old & Used or defective) | No | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 6 | 6000
154 |  | Corona ring dismentaled | No | 200 |  | 0 |  | 0 |  | 0 |  | 0 | 6 | 1200
156 |  | 600volt 20Amp 6mm flat head terminal | No | 38.94 | 135 | 5256.9 |  | 0 |  | 0 |  | 0 |  | 0
157 |  | 600volt 20Amp 15mm Cylinderical head terminal | No | 73.1625 | 57 | 4170.2625 |  | 0 |  | 0 |  | 0 |  | 0
158 |  | 600volt 20Amp 6mm Cylinderical head terminal | No | 38.94 | 145 | 5646.3 |  | 0 |  | 0 |  | 0 |  | 0
159 |  | 11KV Breaker frame | No | 3000 | 1 | 3000 |  | 0 |  | 0 |  | 0 |  | 0
160 |  | Wave trap Defective | No | 3000 |  | 0 |  | 0 |  | 0 |  | 0 | 3 | 9000
161 |  | Wave trap structure | No | 500 |  | 0 |  | 0 |  | 0 |  | 0 | 3 | 1500
162 |  | LA Defective//Uncomplete/Damage | No | 200 |  | 0 |  | 0 |  | 0 |  | 0 | 24 | 4800
163 |  | Carrier Pannel obselute | No | 1500 | 2 | 3000 |  | 0 |  | 0 |  | 0 |  | 0
164 |  | 33KV C.T Defective (16No2020) | No | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 17 | 17000
165 |  | Iron scrap | Kg | 25 |  | 0 |  | 0 |  | 0 |  | 0 | 175 | 4375
166 |  | 33KV Breaker completely damage | No | 2000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 2000
167 |  | Space Heater 80Watt | No | 566.4286 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
168 |  | Fuse wire 6Amp | Kg | 1740 | 0.775 | 1348.5 |  | 0 |  | 0 |  | 0 |  | 0
169 |  | C.T clamp Deer | No | 1172.8 | 2 | 2345.6 |  | 0 |  | 0 |  | 0 |  | 0
170 |  | Isolator clamp for Deer conducter | No | 974.666 | 2 | 1949.332 |  | 0 |  | 0 |  | 0 |  | 0
171 |  | Deer conducter Breaker Clamp | No | 977 | 6 | 5862 |  | 0 |  | 0 |  | 0 |  | 0
172 |  | L/T ACDB old and used | No | 10000 | 1 | 10000 |  | 0 |  | 0 |  | 0 |  | 0
173 |  | ACB of ABB make 800Amp | No | 50000 |  | 0 |  | 0 |  | 0 | 1 | 50000 |  | 0
174 |  | Moose Conducter Isolator Clamp | No | 978.1667 | 5 | 4890.8333 |  | 0 |  | 0 |  | 0 |  | 0
175 |  | Bimetallic CT Clamp Moose conducter | No | 977 | 2 | 1954 |  | 0 |  | 0 |  | 0 |  | 0
176 |  | Aluminium Alloy Breaker Clamp Moose Conducter | No | 973.333 | 3 | 2919.999 |  | 0 |  | 0 |  | 0 |  | 0
177 |  | Empty Drum of T/F oil 209 Capacity | No | 200 | 1 | 200 |  | 0 |  | 0 |  | 0 |  | 0
178 |  | Transformer Oil (old & Used) | Ltr | 25 | 196 | 4900 |  | 0 |  | 0 |  | 0 |  | 0
179 |  | 33KV C.T 800/400/1(old & Used) | No | 2000 | 3 | 6000 |  | 0 |  | 0 |  | 0 |  | 0
180 |  | PG clamp Moose to Moose Conducter | No | 1162.2 | 2 | 2324.4 |  | 0 |  | 0 |  | 0 |  | 0
181 |  | PG clamp Moose to Panther Conducter | No | 1171.8 | 4 | 4687.2 |  | 0 |  | 0 |  | 0 |  | 0
182 |  | PG clamp Moose to Deer Conducter | No | 1174.2 | 5 | 5871 |  | 0 |  | 0 |  | 0 |  | 0
183 |  | LED Display 440Volt Volt Meter | No | 2773 | 1 | 2773 |  | 0 |  | 0 |  | 0 |  | 0
184 |  | Rotatoy 3Phase voltage selecter switch | No | 767 | 1 | 767 |  | 0 |  | 0 |  | 0 |  | 0
185 |  | 132/33KV 12.5MVA Transformer old & Used with Oil,Conservator Tank,Radatior & L.V Bushing | No | 2000000 |  | 0 |  | 0 |  | 0 | 1 | 2000000 |  | 0
186 |  | Marshalling Box of 132/33KV 12.5MVA Transformer old & Used | No | 1000 |  | 0 |  | 0 |  | 0 | 1 | 1000 |  | 0
187 |  | 48Volt Battery Charger old & used | No | 1000 |  | 0 |  | 0 |  | 0 | 1 | 1000 |  | 0
188 |  | OLTC/RTCC Panel of 132/33KV 12.5MVA Transformer old & Used ,uncomplete & Damaged | No | 1000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 1000
189 |  | 132KV Isolator uncomplete old & Used | No | 1500 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 1500
190 |  | 33KV L.A old & used | No | 100 |  | 0 |  | 0 |  | 0 |  | 0 | 3 | 300
191 |  | 33KV Isolator old &used uncomplete | No | 2000 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 2000
193 |  | 33KV L.A | No | 15576 | 6 | 93456 |  | 0 |  | 0 |  | 0 |  | 0
195 |  | Panther Conducter Isolator Clamp | No | 974.6667 | 2 | 1949.3333 |  | 0 |  | 0 |  | 0 |  | 0
197 |  | 10X2.5Sqmm Control Cable | Km | 266090 | 0.992 | 263961.28 |  | 0 |  | 0 |  | 0 |  | 0
198 |  | Glass Syringe | No | 2926 | 2 | 5852 |  | 0 |  | 0 |  | 0 |  | 0
Stock Inventory Report for the M/o January 2022
Name of Division |  | EE, 220 KV O&M Industrial Division , Jhajhra , Dehradun.
Name of Substation |  | 132 KV Substation Purkul, Dehradun
Incharge/Section Holder |  | AE : Er Shaili Rathi , JE: Om Prakash
196 | FF0F015002 | Tower Parts Old and Used (Dismentalled) | MT | 40000 | 9.956 | 398240 |  | 0 |  | 0 |  | 0 |  | 0
197 | AA0A002006 | ACSR Panther Conductor (Old & Used) | KM | 110000 | 2.235 | 245850 |  | 0 |  | 0 |  | 0 |  | 0
198 | AA1A101002 | Earth Wire 7/9 GS Old and Used (Dismentalled) | KM | 40000 | 0.79 | 31600 |  | 0 |  | 0 |  | 0 |  | 0
199 |  | Disc Insulators 70 KNOld and Used (Dismentalled) | Nos | 110 | 100 | 11000 |  | 0 |  | 0 |  | 0 |  | 0
200 |  | 7/9 Earth Wire Old and Used In Bits | KG | 20 |  | 0 |  | 0 |  | 0 |  | 0 | 1400 | 28000
201 |  | Pilot fitting for single ACSR conductor (suitabe for 70 KN disc) | Nos | 2295 | 16 | 36720 |  | 0 |  | 0 |  | 0 |  | 0
202 |  | Vibration damper for 7/10 SWG Earth Wire | Nos | 703.8 | 9 | 6334.2 |  | 0 |  | 0 |  | 0 |  | 0
203 | II3I301005 | Mid span joint for panther conductor | Nos | 663 | 4 | 2652 |  | 0 |  | 0 |  | 0 |  | 0
204 | II3I301005 | Mid spann joint for panther conductor | Nos | 750 | 9 | 6750 |  | 0 |  | 0 |  | 0 |  | 0
205 | II5I504005 | Single suspansion fitting for panther conductor MGF/NGF make | set | 1000 | 1 | 1000 |  | 0 |  | 0 |  | 0 |  | 0
135
1000
0.135
2.1

## T&P January 2022
Name of Circle/Zone: O&M Circle Dehradun/ Garhwal Zone
Name of Division: 220 KV O&M industrial Div. Jhajhra Dehradun
T&P inventory for the month of:-January 2022
Name of Sub Station : 132 KV SS Purukul Dehradun
T&P of Sh Ranjan Kumar JE O&M Subdivision Purukul | S.No | Item Discription | Unit | Qty
| 1 | Portable type primary injection set with A/T connecting following items (A) portable trolly (b) Flexible copper lead 04 No. (defective) | No. | 1
| 2 | Analog Multimeter sanwa make | No. | 1
| 3 | Digital timer (Damaged) | No. | 1
| 4 | Wooden Chair Damaged | No. | 4
| 5 | Table (Mica Top) 5'x 3' | No. | 1
| 6 | Steel Almirah 78''x 36''x 19'' | No. | 1
| 7 | Diamond wire scraper with cutting Plier (Damage) | No. | 1
| 8 | Capacitance Portable Meter (Damaged) | No. | 1
| 9 | Steel Chair Armless (Damaged) | No. | 1
| 10 | Digital multimeter AC 750 V 1000 VDC (Damaged) | No. | 1
| 11 | Brass Sprayer Damage for CRC | No. | 1
| 12 | First Aid Box Damage | No. | 1
| 13 | Brass Earth Chain 2m Damage | No. | 1
| 14 | Wall Clock | No. | 1
| 15 | Ceiling Fan off size | No. | 2
| 16 | Exhust Fan | No. | 4
| 17 | Multimeter Damage | No. | 1
| 18 | Hammer with Handle | No. | 1
| 19 | Hack saw Frame Damage | No. | 1
| 20 | GI Bucket Damage | No. | 1
| 21 | Single End Spanner | No. | 1
| 22 | Wolf Type NWB Blower O&U | No. | 1
| 23 | Hot air attechment to blower Damage | No. | 1
| 24 | Magger 2.5 KV Damage Modle Continantal | No. | 1
| 25 | Telephone PP set Damage | No. | 1
| 26 | Pully one sheev | No. | 1
| 27 | Pully two sheev | No. | 1
| 28 | Crobar | No. | 3
| 29 | Hand gloves Damage | No. | 1
| 30 | Foam Type Fire Extinguisher 50 kg Damage | No. | 3
| 31 | Pipe Wrench 12" Off size (damaged) | No. | 1
| 32 | Tong Type Battery Cell Tester Damage | No. | 1
| 33 | Patromax Damage | No. | 1
| 34 | Steel Tubler Arm Chair Damage | No. | 2
| 35 | Easy Chair Damage | No. | 2
| 36 | Wooden office Chair (Damaged) | No. | 1
| 37 | Wooden Rack Special Type (Damaged) | No. | 1
| 38 | Center Table 4x'2'x18" (Damaged) | No. | 1
| 39 | Wooden Table 101x 43x80 cm (Damaged) | No. | 1
| 40 | Wooden office Table without draw 152x 91x76cm (damaged) | No. | 1
| 41 | Steel office Table Sun Mica Top 154x 91x 76 cm | No. | 1
| 42 | Steel Almirah | No. | 1
| 43 | Steel Chair (Damaged) | No. | 1
| 44 | Motorised oil Testing set (Damage) | No. | 1
| 45 | Oil Testing Set 10-60 KV Manual Type (Damage) | No. | 1
| 46 | Fire Fighting Extinguisher CO2 Type 22.5 kg | No. | 1
| 47 | Grease Gun (Damage) | No. | 1
| 48 | Hole Bari | No. | 3
| 49 | Pipe Wrench (Damage) | No. | 1
| 50 | Measuring tape 30m (Damage) | No. | 1
| 51 | Measuring tape 2 m (Damage) | No. | 1
| 52 | Nose Plier (Damage) | No. | 1
| 53 | Stream Line Filter machine 50GPH Damaged) | No. | 1
| 54 | Alloyed all purpose folding ladder (Damage) | No. | 1
| 55 | GI Steel Rack | No. | 2
| 56 | Round File Damage | No. | 1
| 57 | Chain Tackle 5 T (Damage) | No. | 1
| 58 | Screw Driver off size (Damage) | No. | 2
| 59 | Tripole(Damage) | No. | 1
| 60 | Lock off size Damage | No. | 2
| 61 | D Spanner 36/41 | No. | 1
| 62 | Allen key Set 8 Pcs. | No. | 1
| 63 | D Spanner 7/16 & 9/16 | No. | 2
| 64 | D Spanner off size 6 pcs. | No. | 1
| 65 | Fire Fighting Extinguisher CO2 Type 6.2 kg | No. | 1
| 66 | Insulated Fiber glass Helmet (Damaged) | No. | 1
| 67 | Stand for drill machine Damage | No. | 1
| 68 | Electric drill Machine Heavy Duty | No. | 1
| 69 | Ceiling Fan | No. | 2
| 70 | Lock 50mm Damage | No. | 1
| 71 | Lock 50mm Navtal Godrej Damage | No. | 1
| 72 | Lock 50mm Navtal Godrej Damage | No. | 1
| 73 | Donlop Coir Mattress Damage | No. | 2
| 74 | Double Bed Wooden | No. | 1
| 75 | Bina Color Focusing Omega Damage | No. | 1
| 76 | Sony Erectiion Mobile Phone (Damage) | No. | 1
| 77 | 1200 LPH Centrifuging machine CEE DEE | No. | 1
| 78 | Mobile Hand Set Motorola C168 (Damage) | No. | 1
| 79 | TFT 15" Monitor HCL | No. | 1
| 80 | UPS 1.0 KVA Uniline Damaged | No. | 1
| 81 | Internal 56 Kbps Modem | No. | 1
| 82 | Bi-lingual Key board | No. | 1
| 83 | Combodrive | No. | 1
| 84 | Mc Afee Antivirus Expired | No. | 1
| 85 | Nokia handset Damaged | No. | 1
| 86 | Side rack steel | No. | 1
| 87 | Godrej companion chair (damaged) | No. | 2
| 88 | Cooler (damaged) | No. | 5
| 89 | oil filled radiator (Damaged) | No. | 1
| 90 | Open steel rack four shelves | No. | 1
| 91 | Four draw Verticle filing cabinet | No. | 1
| 92 | Table office | No. | 1
| 93 | Armed three sheeter chair | No. | 2
| 94 | Cushion stool | No. | 2
| 95 | Glass door Book shelf | No. | 1
| 96 | Chair | No. | 6
| 97 | Steel Locker | No. | 1
| 98 | Godrej Visitor Chair | No. | 5
| 99 | Godrej Companion Computer Table | No. | 2
| 100 | Godrej Supervisior Table T8 | No. | 1
| 101 | Torque wrench | No. | 1
| 102 | Four sheev pully | No. | 1
| 103 | Single Sheev pully Al/ MS | No. | 3
| 104 | Key | No. | 2
| 105 | Spanner | No. | 2
| 106 | Earth Chain | No. | 2
| 107 | Earth link rod | No. | 2
| 108 | Nokia C1-01 | No. | 2
| 109 | Water Cooler | No. | 1
| 110 | Water Purifier | No. | 1
| 111 | Fency center table | No. | 1
| 112 | Sofa cum cushion type easy chair | No. | 6
| 113 | Tong Tester Clamp meter Motwani | No. | 1
| 114 | Multi meter AC/DC Motwani | No. | 1
| 115 | Bolted type Material Come along Clamp for ACSR Deer Conductor | No. | 3
| 116 | Bolted type Material Come along Clamp for ACSR Panther Conductor one set damage | No. | 3
| 117 | Bina culor | No. | 1
| 118 | Die set suitable for ACSR Zebra conductor Steel portion one set damage | No. | 6
| 119 | Die set suitable for ACSR Zebra conductor Aluminium portion | No. | 6
| 120 | Heavy duty drill Machine fittied in frame operated manually & electrically | No. | 1
| 121 | Aluminium Alloy Ladder | No. | 1
T&P of Sh Om PrakashJE O&M , Lines Purukul | 122 | Open Rack | No. | 1
| 123 | Mobile Phone (Damage) | No. | 2
| 124 | Godrej Table T-9 | No. | 1
| 125 | Visitor Chairs Godrej-1007 | No. | 8
| 126 | Filing cabinate with Four Drawer | No. | 1
| 127 | Almirah (Godrej) | No. | 1
| 128 | Godrej Table T-8 | No. | 1
| 129 | Chair 7003D (GodreJ) | No. | 1
| 130 | Cushioned Stool (Guard high back) | No. | 4
|  | (Junior Engineer ) | (Assistant Engineer)
|  | O&M Sub Division Purukul | O&M Sub Division Purukul